I.	COAGULATION--REAGENT PREPARATION:

A.	 IMIDAZOLE-BUFFERED SALINE (IBS)

1.	Into a 2-Liter flask measure:

a. 	6.8 gm imidazole

b. 	11.7 gm NaCl

c. 	Approximately 1.5 L distilled water

d. 	3.15 ml conc. HCl

2.	Mix on magnetic stirrer with cap on until reagents dissolved. Adjust pH, if 			necessary, to 7.25-7.35. (NOTE: if reagents are weighed out properly, and 			HCl is added in the correct amount, the pH should be 7.25-7.35 without 			adjustment. If major adjustment seems necessary, start from scratch and 			weigh out/ add reagents again, or mix longer to ensure dissolution.)

Remove stir bar and make up to 2L with distilled water.

Label with expiration date (one year from date of preparation and store in walk-in refrigerator.

B.	5 M UREA (for Factor XIII screening test)

M.W. of urea = 60

5 M = 3 gm + 10 ml distilled water

Add 10 ml distilled water to a 13x100 tube and mark the meniscus (compared to the template provided). Put in 3 gm urea powder, and fill with distilled water to the mark; vortex to dissolve before using.

C.	POLYBRENE  (for heparin neutralization  of PTT):

a. 	In a 100-ml volumetric flask, dissolve 66 mg of polybrene 					(hexadimethrine bromide-hydroscopic, kept tightly sealed in 				refrigerator) in 100 ml of distilled water. Stir to mix well. 					Concentration of this solution is:

66 mg/ 100 ml ~ 66,000 ug/ 100 ml ~ 660 ug/ ml

b. 	Dilute 660 ug/ml 1:10 in DW:

10 ml of 660 ug/ml + 90 ml DW = 66 ug/ml (stock)

c.	Dilute 66 ug/ml 1:4 in DW:

25 ml of 66 ug/ml + 75 ml DW = 16.5 ug/ml (stock)

d.	For use:

0.5 ml patient + 50 ul 66 ug/ml=   6.0 ug/ml

plasma stock            final concentration

0.5 ml patient + 50 ul 16.5 ug/ml= 1.5 ug/ml

plasma stock             final concentration

NOTE: Order hexamethrine bromide from Sigma (vendor #9304), 			Catalogue # H9288,   5 gm vial, line account 513340, price 15.50/

5 gm vial.

II.	HISTORY:

H-1	This procedure was written by N. Kriz on 12-17-04.

H-2	This procedure was reviewed by N Kriz on 10/22/2010.

H-3	This procedure was reviewed by N Kriz on 8/23/2011.

H-4	This procedure was reviewed by N Kriz on 6/26/2012.

H-5	This procedure was reviewed by N Kriz on 6/12/2013.