I.  	Purpose:

To define the Soft computer process when resulting Back Room Miscellaneous tests.

II.  	Procedure:

Orderable Tests:

FHCT = Fluid Hematocrit

OBLD = Occult Blood

STWBC = Fecal Leukocytes

STFAT = Fat, Fecal Quantitative

UFAT = Fat, Urine

STRES = Fecal Reducing Substances

UEOS = Urine Eosinophils

NSEOS = Smear Estimate Eosinophils, Nasal Swab

MISC – Stools and Miscellaneous Training Template

Manual test results to be verified:

- Open Resulting Worklist:  template - MISC

status - Pend and Nonver

from order # - Enter the date for 1 week prior to current day

(Example: today is 7/21 enter dates 071400000 to 072199999)

To – Leave as today’s date

- Select order # for results to be entered

- Enter results for tests ordered

-OBLD, STWBC, STFAT UFAT, STRES, UEOS and NSEOS will

display a resulting keypad in the upper right hand corner of the screen with all possible results for that test

-Choose the key that corresponds with the result to be entered

-Once a result is entered the cursor will automatically go to the next test field

- If verifying only 1 result: select the result to be verified, click Verify and save

- If all tests on the order can be verified: click Verify All and save

- If only one test on the order can be verified: select the test to be verified, click Verify and save

III.	HISTORY:

H-1	This procedure was written by Jessica Kaul on 3/7/2010.

H-2	This procedure was revised by Jessica Kaul on 3/9/2011.