I.  	Purpose:

To define the Soft computer process when resulting Urinalysis QC.

II.  	Procedure:

How to Order Urinalysis QC:

-Click on v next to Orders

-Click on Order Entry

-Click on Blank Document icon

-Enter Item Type: Control

-Enter Item ID: MUA-1

-Leave checkmarks selected for tests and workstation that controls are to be run on

∙Example:  Controls are to be run on Atlas #1, Multistix reagent strip and Confirmatory:

-Tests UAPP, UBIL, UBLD, UCOLR, UGLU, UKET, ULEU, UNITR,

UPH, UPRO, UUROB and USPG for Workstation MATL1 should be check

marked.

-Tests UAPP, UBLD, UCOLR, UGLU, UKET, ULEU, UNITR, UPH,

UUROB and UPRO for Workstation MCLIN should be check marked.

-Tests UCLIN, USSA and USPG for Workstation MUA should

be check marked.

-Click

-Click YES to “Do you want to save changes?”

-The page will bridge to Result Entry

-Close Result Entry tab

-Click on v next to Orders

-Click on Order Entry

-Click on Blank Document icon

-Enter Item Type: Control

-Enter Item ID: MUA-3

-Leave checkmarks selected for tests and workstation that controls are to be run on

∙Example:  Controls are to be run on Atlas #1, Multistix reagent strip and Confirmatory:

-Tests UAPP, UBIL, UBLD, UCOLR, UGLU, UKET, ULEU, UNITR,

UPH, UPRO, UUROB  and USPG for Workstation MATL1 should be

check marked.

-Tests UAPP, UBLD, UCOLR, UGLU, UKET, ULEU, UNITR, UPH,

UUROB and UPRO for Workstation MCLIN should be check marked.

-Tests UCLIN, USSA and USPG for Workstation MUA should

be check marked.

-Click

-Click YES to “Do you want to save changes?”

-The page will bridge to Result Entry

-Close Result Entry tab

-Example:  Controls are to be run on Atlas #1 only for tests UAPP, UBIL, UBLD, UCOLR, UGLU, UKET, ULEU, UNITR, UPH, UPR, UUROB and USPG.

How to Run and Result Urinalysis QC:

Controls

MUA-1 – Normal Urine Control

MUA-3 – Abnormal Urine Control

To Print QC Identifier Labels

- Click on v next to Inventory

- Click on Lot Records

- Enter Item ID: Either MUA-1 or MUA-3

∙Enter the first few characters of the ID and use the drop down list

∙Choose the one with NO WORKSTATION

- Open the record by clicking on   from the top toolbar (Lot record information will appear)

- Click Barcode icon from the top toolbar

**Click NO to the “Do you want to copy the parameter information from test…”**

- Click Barcode icon

- Go to bottom part of the screen and click on QC Identifier Labels tab

- Go to the top of the screen and select the workstation to print labels for (put a √ in the box under Select)

- Change the Layout to LotQCIdentifier_labelLBL

- Click Network Printer

- Choose label printer from the drop down list

- Click Run

Atlas

- Labels will have the Control ID, Name, Instrument ID, Workstation and QC Identifier

-Example: Control ID: MUA-1

Name: Normal Urine Control

Instrument ID: MATL1

Wrk: MATL1

QC Identifier: a11a

- Place the Normal Urine Control label on the conical tube containing the normal control

- Place the Abnormal Urine Control label on the conical tube containing the abnormal control

- Place tubes on the Atlas and run controls

- If the barcode does not read manually enter a11a for the normal control and a12a for the abnormal control into the Atlas

- Go into Instrument menu

- Highlight Order 11

- Click

- If any results are out the screen will bridge to TQC

- Choose Action from Action ID then Click OK

- When all results are posted a popup will appear stating “11 test(s) were posted to QC order #”

- If QC is out a new QC order will be generated and linked to the original QC order

- Click OK

- Highlight Order 12

- Click

- If any results are out the screen will bridge to TQC

- Choose Action from Action ID then Click OK

- When all results are posted a popup will appear stating “11 test(s) were posted to QC order #”

- If QC is out a new QC order will be generated and linked to the original QC order

- Click OK

- If all QC was in range:

-Patient samples can be run

- If any QC was out of range:

-Rerun the control

-Go into Instrument menu

-Click on the result(s) that was out of range

-Click on QC Post Selected Test

-When the result is posted a popup will appear stating “1 test was posted to QC order #”

-F4 results that were already posted in QC

-Click

- When both controls are in patient samples may be run

Ordering and Running Controls after Reagent Change:

- Order Urinalysis QC for MUA-1

-Click on v next to Orders

-Click on Order Entry

-Click on Blank Document icon

-Enter Item Type: Control

-Enter Item ID: MUA-1

-Leave checkmarks selected for tests and workstation that controls are to be run on

∙Example:  Controls are to be run on Atlas #1:

-Tests UAPP, UBIL, UBLD, UCOLR, UGLU, UKET, ULEU, UNITR,

UPH, UPRO, UUROB and USPG for Workstation MATL1 should be check marked.

-Click

-Click YES to “Do you want to save changes?”

-The page will bridge to Result Entry

- Add New Reagent Result Action to the Order

-Click on Result Action

-Click on green +

-Click on v under ID

-Click on ID: NewReagent

-Click on Comment box and type in new lot number and expiration date

-Click OK

-Click

- Order Urinalysis QC for MUA-3

-Click on v next to Orders

-Click on Order Entry

-Click on Blank Document icon

-Enter Item Type: Control

-Enter Item ID: MUA-3

-Leave checkmarks selected for tests and workstation that controls are to be run on

∙Example:  Controls are to be run on Atlas #1:

-Tests UAPP, UBIL, UBLD, UCOLR, UGLU, UKET, ULEU, UNITR,

UPH, UPRO, UUROB and USPG for Workstation MATL1 should be

check marked.

-Click

-Click YES to “Do you want to save changes?”

-The page will bridge to Result Entry

- Add New Reagent Result Action to the Order

-Click on Result Action

-Click on green +

-Click on v under ID

-Click on ID: NewReagent

-Click on Comment box and type in new lot number and expiration date

-Click OK

-Click

- Run Controls as described in above procedure for running and resulting QC on the Atlas

Multistix Reagent Strips

- Runs controls 11 and 12 on Multistix reagent strips

- In TQC, Click on the  v  next to Results

- Double click on Result Entry

- Type in MUA-1 next to QC item:

- Click Search

- Find the current order number under Search Results for MCLIN

- Click Open

- Click on Test UAPP

- Highlight the result to be entered and Click on it

- Click on Test UBLD

- Highlight the result to be entered and Click on it

- Click on Test UCOLR

- Highlight the result to be entered and Click on it

- Click on Test UGLU

- Highlight the result to be entered and Click on it

- Click on Test UKET

- Highlight the result to be entered and Click on it

- Click on Test ULEU

- Highlight the result to be entered and Click on it

- Click on Test UNITR

- Highlight the result to be entered and Click on it

- Click on Test UPH

- Highlight the result to be entered and Click on it

- Click on Test UPRO

- Highlight the result to be entered and Click on it

- Click on Test UUROB

- Highlight the result to be entered and Click on it

- Click on Verify All

- Click

- Click YES to “Do you want to save changes?”

- Type in MUA-3 next to QC item:

- Click Search

- Find the current order number under Search Results for MCLIN

- Click Open

- Click on Test UAPP

- Highlight the result to be entered and Click on it

- Click on Test UBLD

- Highlight the result to be entered and Click on it

- Click on Test UCOLR

- Highlight the result to be entered and Click on it

- Click on Test UGLU

- Highlight the result to be entered and Click on it

- Click on Test UKET

- Highlight the result to be entered and Click on it

- Click on Test ULEU

- Highlight the result to be entered and Click on it

- Click on Test UNITR

- Highlight the result to be entered and Click on it

- Click on Test UPH

- Highlight the result to be entered and Click on it

- Click on Test UPRO

- Click on Test UUROB

- Highlight the result to be entered and Click on it

- Click on Verify All

- Click

- Click YES to “Do you want to save changes?”

Confirmatory Tests

- Perform the confirmatory tests for both normal and abnormal controls

- Click on the  v  next to Results

- Double click on Result Entry

- Type in MUA-1  next to QC item:

- Click Search

- Find the current order number under Search Results for MUA

- Click Open

- Click on Test UCLIN

- Highlight the result to be entered and Click on it

- Click on Test USSA

- Highlight the result to be entered and Click on it

- Click on Test USPG

- Type in Specific Gravity

- Click on Verify All

- Click

- Click YES to “Do you want to save changes?”

- Rerun controls and repeat above steps if needed

- Click on the  v  next to Results

- Double click on Result Entry

- Type in MUA-3  next to QC item:

- Click Search

- Find the current order number under Search Results for MUA

- Click Open

- Click on Test UCLIN

- Highlight the result to be entered and Click on it

- Click on Test USSA

- Highlight the result to be entered and Click on it

- Click on Test USPG

- Type in Specific Gravity

- Click on Verify All

- Click

- Click YES to “Do you want to save changes?”

- Rerun controls and repeat above steps if needed

- When both controls are in patient samples may be run

QC is out of Range

- If the result is out the Action screen will appear

- Choose Action from Action ID then Click OK

- Rerun the control

- If QC was run on an Atlas

-Go into Instrument menu

-Click on the result(s) that was out of range

-Click on QC Post Selected Test

-When the result is posted a popup will appear stating “1 test was posted to QC 		order #”

-F4 results that were already posted in QC

-Click

- If QC was repeated on Multistix or Confirmatory

-Follow procedure for entering QC results

III.	HISTORY:

H-1	This procedure was written by Jessica Kaul on 3/7/2010.

H-2	This procedure was revised by Jessica Kaul on 7/1/2011.

H-3      This procedure was revised by Donna Fico on Aug. 2013.