I.	PURPOSE:

It's our policy to participate in outside proficiency testing programs for the laboratory 	tests we do, whenever such programs are available, in keeping with regulatory 	requirements. However, it is inevitable that some useful tests have no outside 	proficiency testing programs. Following is a list of tests currently done in our lab that 	aren't evaluated by outside proficiency tests, with sites on the current QC or QA 	procedures that are relied on" for validation. Most of these tests are infrequently done. In 	the future we may want to develop specimen exchange arrangements with other labs 	in the region that do these tests.

| Test's Computer Name |  | Other Name |  | QC/QAI "Rounds" checking |
| --- | --- | --- | --- | --- |
| NBT |  | Nitroblue tetrazolium slide test | Internal "positive" (for the disease) control- non- reacting preparation - is always run. The formazan reaction ("negative" or healthy control) is always seen in control WBCs. Double blind tech analysis 2x per year |  |
| Pyruvate kinase (PK) |  |  |  | Checked against patient's history of congenital hemolysis, other evidence of hemolysis such as reticulocyte count, which is always markedly elevated in deficient patients. Double blind tech analysis 2x per year |
| Special stains for blasts | Peroxidase Sudan B Butyrate PAS |  |  | There are internal positive control cells on nearly all smears, plus a normal control stained smear, plus Wright stain of patient's blood or marrow read concurrently, plus flow, chromosome, and lysozyme results. Double blind tech analysis |
| Osmotic fragility |  |  |  | Double blind study 2x per year |
| urine fat |  |  |  | Positive control from stain of immersion oil. Double blind tech analysis, 2s per year |
| Stool for reducing substances |  |  |  | Double blind tech analysis, 2x per year |
| Urine myoglobin |  |  |  | Double blind tech analysis, 2x per year |

II.	HISTORY:

H-1	This procedure was written by N. Ortoli-Drew on 10-2001.

H-2	This procedure was revised by N. Ortoli-Drew on 7-2005.

H-3	This procedure was revised by N. Ortoli-Drew on 4-2007

H-4	This procedure was revised by N. Ortoli-Drew on 7-2007

H-5	This procedure was revised by N. Ortoli-Drew on12-2007.

H-6	This procedure was revised by N. Ortoli-Drew on 4-2008.

H-7	This procedure was revised by N. Ortoli-Drew on 9-2008.

H-8	This procedure was revised by N. Ortoli-Drew on 1-2009.

H-9      This procedure was revised by N. Ortoli-Drew on 4-2011.

H-10    This procedure was revised by N. Ortoli-Drew on 6-2012.

H-11    This procedure was revised by N. Ortoli-Drew on 9-2012.