- PURPOSE:

To define for all laboratory staff the protocol  to follow when analyzed results on precision material (s) demonstrate significant changes.

- POLICY:

# When analyzed results on precision material (s) show significant data changes specimen 	analysis will cease on the instrument and the problems (s) will be documented in the 	instrument problem log. This policy applies to Sapphire, Clinitek 500, Atlas and all 	special hematology and coagulation/aggregation instruments.

- PROCEDURE:

A.	The technologist will evaluate reagent levels, error messages (and remedy if 			necessary

B. 	The technologist will rerun material (s)

C.	Results of rerun will be reviewed:

1.	If rerun acceptable original result will be edited, and appropriate note 				entered in problem log.

2. 	If rerun is unacceptable:

a. 	Supervisor will be notified

b. 	Supervisor or appropriate designee will institute appropriate 					troubleshooting procedures and repair.

c. 	Problem and remedial actions will be documented in instrument 					log

d. 	Precision materials will then be rerun and results reviewed

e. 	Once controls and precision materials (s) are acceptable, specimen 				   	analysis may be performed

IV.	HISTORY:

H-1	This procedure was written by P. McPhedran on 12-99.

H-2      This procedure was revised by N. Ortoli-Drew 3-2011.

H-3	This procedure was revised by Natalie Ortoli-Drew on 10-2012.