I.	PURPOSE / SCOPE:

A.		To define for all laboratory technical staff their process and procedure for

documentation of incident/data change error occurrences on patient 	specimens.

- To provide a consistent format/report (modified after reporting) for supervisory

staff  to assure event reported and documented

C.        To initiate opportunities of improvement procedures/processes.

D.  		To provide documentation of events consistent with JCAHO guidelines

II.	PROCEDURE:

Technical staff:

A.	Amend/correct data, notify caregiver

B.        Document notification of caregiver in computer as per Data Change Policy			C.  	Sources of incident/data change:

- Medical device malfunction (requires immediate notification of supervisor)

- Procedure not followed (requires review of procedure with tech)

- Review of instrument/data flags point inconsistent result(s)

- Computer program error

- Specimen integrity problem (noted after results released, ex notification specimen collected from line)

Supervisory staff:

A.  	Review “Results Modified after Verification” for any changed data

B.        Review any changed data patient report for compliance of documentation

C.        Complete a summary report of incident:

- any unacceptable documentation--  discuss with tech involved and request correction

- technical procedure not followed—discuss with tech and retrain/assess

- medical device malfunction—report as per “Medical Device Malfunction” procedure

- other reasons—provide an opportunity for quality improvement

III.		HISTORY:

H-1	This procedure was written by N. Ortoli-Drew on 6-30-2005

H-2      This procedure was revised by N. Ortoli-Drew 4-2011.

H-3	This procedure was revised by N. Ortoli-Drew 10-2012.