I.		TURN-AROUND TIMES - Special Coagulation Testing:

A.	Special coagulation laboratory tests are batched whenever possible. Non-STAT			assays of any kind should achieve a turn-around time of 5 working days from day 			of receipt.

B.	A realistic turn-around time for assays which are requested STAT (in particular, 			coagulation factor assays, which may represent a critical clinical situation) would 			be 1-2 hours from time of receipt, depending upon when the laboratory is notified 			about the need for STAT testing.

C.	Tests ordinarily batched, but requested STAT (e.g. hypercoagulability tests, or 			anti-Xa activity) should be referred to the laboratory resident for a decision as to 			whether the test should be performed ahead of scheduled run.

II.		REPORTABLE RANGES – Coagulation / Hypercoagulability Testing:

A.	Lower limit: Lowest point on the standard curve from which the patient sample is 			evaluated. (e.g.: for ristocetin cofactor, the lowest point on the standard curve is 			20%; patient values which are calculated to be lower than that should be reported 			as “<20 %”.)

B.	Upper limit: Patient values which are initially determined to be above the highest 			point on the standard curve are auto diluted in a manner which allows the raw 			reading to fall within the linear portion of the curve, and then calculated with an 			appropriate correction factor (refer to specific test procedure). In this way, an 			elevated result may be reported reliably.  See also specific assay procedures.

III.  	HISTORY:

H-1	This procedure was written by N. Kriz on 1-07-2005.

H-2	This procedure was reviewed by N Kriz on 7/26/2010.

H-3	This procedure was reviewed by N Kriz on 2/25/2011.

H-4	This procedure was reviewed by N Kriz on 1/31/2012.

H-5	This procedure was reviewed by N Kriz on 3/11/2013.

H-6	This procedure was reviewed by N Kriz on 12/27/2013.