Satellite Lab

Cobas 501c Competency

1. Name the three levels of access to log on

2. To activate preventive action, on which screen can this be accomplished?

3. Which two functions are activated by checking Preventive Action?

4. List two formats for saved data.

5. How does a reagent with expired on -board stability appear on the screen.

6. List the steps necessary to print the reagent Load/Unload list.

7. List the steps to view the last date the Daily pipe was performed.

8. What is the requirement for the photometer reading?

9. List the six reasons a calibration would be recommended.