- Where do you place the samples when performing a Flu on RSV test?

- What should you do if you receive a request for a Respiratory DFA test on a Binax Now Flu sample?

- How many horizontal lines will be present when you get a positive RSV test?

- What indicates the completion of a rapid Strep test?

- How many drops of reagent A and B do you add to the “reaction vial” when doing a rapid strep test?

- What do you need to do with the throat swab if you get a negative rapid strep result?

7.   How much sample do you add to the latex solution when running a monospot test?

8.   How often do you have to run Monospot QC?

9.  How long do you have to rotate the Monospot card before the test is considered complete?