- POLICY:

To define for all technologists the criteria for Fluid resulting without supervisor review and to define what findings warrant further supervisor/resident/attending examination. All technologists must be competency assessed to release fluid differentials.

- PROCEDURE:

- Perform fluid differential per procedure, with specific detail to significant cellular

and abnormal findings.

1.	Differentials reported directly by technologist:

a.        Normal CSF diffs

b.       Normal body fluid diffs

c.       CSF and body fluids with bacteria and previous report of bacteria

d.       Fluids with granulocyte level >55% require review by 2 					technologists (or tech and supervisor) before release

Note: 	If cellular fluid- review for bacteria is difficult, make a dilution and

repeat cyto smear for bacteria review.

2.	Differentials requiring review by supervisor/resident/attending:

a.	CSF with blasts/abnormal cells

b.	Joint fluid crystal exam

c.	First time abnormal fluid (any type)

d.	First time bacteria/yeast/parasite (any type)

e.	Any fluid technologist unsure of cells/clumps/findings.

3.	Algorithm for bacteria reporting:

a.	First time bacteria seen:

(1.)	Check to see if micro has specimen/reported presence of 					bacteria

(2.)	If micro hasn’t resulted and definite bacteria present, notify    				caregiver that bacteria seen and document in computer. If  				   suspicious for bacteria have smear reviewed before 					   alerting caregiver.

(3.)      Enter differential results into computer

- Add Flint and complete resident/attending review form

(off shifts alert Lab  Resident)

(5.)	Leave slide and slip in resident review tray.

b.	Subsequent positive bacteria smears:

(1.)	Report differential and presence of bacteria, do not send for 				review nor call caregiver

III.	HISTORY:

H-1	This procedure was written by Natalie Ortoli-Drew on 6-2009.

H-2      This procedure was revised by N. Ortoli-Drew 1-2011.

H-3      This procedure was revised by Donna Fico on 4/2013.