I.  	Purpose:

To define the Soft computer process of disabling then restarting instrument

autoverification.

II.  	Procedure

- How to Stop Autoverification on an Instrument:
-On the main screen go to Interfaces

-Choose Interface Setup

-Under Instruments Lab choose the instrument you need to stop autoverification on

(refer to Hematology Main Lab Instruments with Autoverification list at end of

procedure)

-Click the box next to Autopost so there is no √ in the box (refer to screenshot 1)

-Save changes by clicking on

∙ Click YES to “Do you want to save changes?”

∙ Click NO to “Update QC Database?”

∙ Click OK to “Flags 34-39, 48, 49 won’t affect processing if autopost flag

(main setup menu ) is set to “N””

Screenshot 1:

(refer to screenshot 2 for following procedure)

-Under Instruments Lab choose the instrument you need to stop autoverification on

∙ Click the box next to Autopost so there is a √ in the box

∙ Click on the icon with a Blue Arrow with a Red X thru it (stops the

interface)

∙ Click OK when the popup saying the program was killed comes up

∙ Click on the icon with a Blue Arrow (starts the interface)

∙ Click OK to start the interface

∙ Click OK when the popup for the action report comes up

-Select AutoDownload Intfr under Autodownloading

∙ Click on the icon with a Blue Arrow (restarts the interface)

∙ Click OK to start the interface

∙ Click OK when the popup for the action report comes up

-Select Inst AutoPosting under Autoposting

∙ Click on the icon with a Blue Arrow (restarts the interface)

∙ Click OK to start the interface

∙ Click OK when the popup for the action report comes up

-Select Lab AutoReporting AUTLM under Autoreporting Lab

∙ Click on the icon with a Blue Arrow (restarts the interface)

∙ Click OK to start the interface

∙ Click OK when the popup for the action report comes up

-Select Lab AutoReporting AUTLP under Autoreporting Lab

∙ Click on the icon with a Blue Arrow (restarts the interface)

∙ Click OK to start the interface

∙ Click OK when the popup for the action report comes up

-Select Lab AutoReporting AUTLS under Autoreporting Lab

∙ Click on the icon with a Blue Arrow (restarts the interface)

∙ Click OK to start the interface

∙ Click OK when the popup for the action report comes up

-Select Lab AutoReporting AUTOR under Autoreporting Lab

∙ Click on the icon with a Blue Arrow (restarts the interface)

∙ Click OK to start the interface

∙ Click OK when the popup for the action report comes up

Screenshot 2:

1

2

3

4

Key:

1 - Blue Arrow to restart

2 – Autodownloading

3 – Autoposting

4 – Autoreporting Lab

- How to Restart Autoverification on an Instrument:

-On the main screen go to Interfaces

-Choose Interface Setup

-Under Instruments Lab choose the instrument you need to restart

autoverification on

∙ Click the box next to Autopost so there is a √ in the box

∙ Click on the icon with a Blue Arrow with a Red X thru it (stops the

interface)

∙ Click OK when the popup saying the program was killed comes up

∙ Click on the icon with a Blue Arrow (starts the interface)

∙ Click OK to start the interface

∙ Click OK when the popup for the action report comes up

-Select AutoDownload Intfr under Autodownloading

∙ Click on the icon with a Blue Arrow (restarts the interface)

∙ Click OK to start the interface

∙ Click OK when the popup for the action report comes up

-Select Inst AutoPosting under Autoposting

∙ Click on the icon with a Blue Arrow (restarts the interface)

∙ Click OK to start the interface

∙ Click OK when the popup for the action report comes up

-Select Lab AutoReporting AUTLM under Autoreporting Lab

∙ Click on the icon with a Blue Arrow (restarts the interface)

∙ Click OK to start the interface

∙ Click OK when the popup for the action report comes up

-Select Lab AutoReporting AUTLP under Autoreporting Lab

∙ Click on the icon with a Blue Arrow (restarts the interface)

∙ Click OK to start the interface

∙ Click OK when the popup for the action report comes up

-Select Lab AutoReporting AUTLS under Autoreporting Lab

∙ Click on the icon with a Blue Arrow (restarts the interface)

∙ Click OK to start the interface

∙ Click OK when the popup for the action report comes up

-Select Lab AutoReporting AUTOR under Autoreporting Lab

∙ Click on the icon with a Blue Arrow (restarts the interface)

∙ Click OK to start the interface

∙ Click OK when the popup for the action report comes up

III.	HISTORY:

H-1	This procedure was written by Jessica Kaul on 3/7/2010.

H-2	This procedure was revised by Jessica Kaul on 7/2010.