I.	PROCEDURE:

Vacutainers for coagulation testing contain 3.2% sodium citrate, intended for a ratio of 9:1whole blood to anticoagulant. Above hematocrits of 55%, error is introduced by excessive citration and dilution. In cases where a patient's hematocrit is greater than 55%, it is 	necessary to scale down the amount of anticoagulant proportional to the hematocrit. The 	following formula is used to determine the appropriate amount of anticoagulant needed in the tube:

S= V (100-H)

----------

(640-H)                  		S= amount of anticoagulant

V= total volume of blood and anticoagulant

H= hematocrit

Tubes can be provided by the coagulation laboratory containing the proper amount of 3.2% 	sodium citrate for a given hematocrit, keeping total volume ( V ) at 3 ml as in the standard vacutainer (blue stopper).

A 3.0-mL sodium citrate blue top tube ordinarily contains 0.3-mL of anticoagulant, to which should be added 2.7-mL of patient whole blood.  To adjust the amount of anticoagulant for an elevated hematocrit, use the following amounts of each:

For Hematocrit

  - Take out 0.1 mL anticoagulant (leaving 0.2-mL); add 2.8 mL patient blood

  - Take out 0.2 mL anticoagulant (leaving 0.1 mL); add 2.9 mL patient blood

(If a 5.0-mL tube is received (rare after 1/15/2014 when plastic 3.0-mL tubes will be used), the following volumes should be used to adjust the amount of anticoagulant:

For Hemaocrit

55-70	Take out 0.1 mL anticoagulant (leaving 0.4 mL); add 4.6 mL patient blood

71-79	Take out 0.2 mL anticoagulant (leaving 0.3 mL); add 4.7 mL patient blood )

***    NOTE: Patient must be drawn with a syringe, since once the blue top tube is opened to remove anticoagulant, it is no longer a vacutainer!   Please note this for nurse when the prepared tube is sent to the floor. ***

II.	REFERENCE:

Komp,D.M. and Sparrow,A.W. Quantitation of secondary fibrinolysis in cyanotic heart disease. J.Pediat. 77:679-682, Oct.1970.

III.	HISTORY:

H-1	This procedure was written by N. Kriz on 12-16-2004.

H-2	This procedure was reviewed by N Kriz on 10/22/2010

H-3	This procedure was reviewed by N Kriz on 8/23/2011

H-4	This procedure was reviewed by N Kriz  on 10/19/2012

H-5	This procedure was reviewed by N Kriz on 6/12/2013

H-6	This procedure was revised for 2.7-mL tubes by N Kriz on 12/30/2013