I.           PURPOSE:

To determine guidelines for autoverification of Urinalysis results utilizing Atlas 	  	  instruments.

II.           POLICY:

Therefore, Urine samples with results that fall within established parameters and have no sample and instrument flags will be autoverified.  Prior to running autoverification, commercial QC is run every 8 hours as well as patient references after a reagent change to assure acceptable results. In the event of unacceptable and/or unresolvable QC issues, patient samples are not run on instrument having issues.  In the event of unresolvable autoverification problems, autoverification is to be disabled by Hematology personnel (preferably a Soft superuser but any hematology tech can disable if superuser is not available).  Atlas Instruments with Autoverification:

Interface Name		ID

Atlas #1		MATL1

Atlas #2		MATL2

III.	HISTORY:

H-1	This procedure was written by Jessica Kaul on 3-2010.