# Hematology Lab Weekly Meeting

# Meeting Minutes

April 20, 2017

* Safety Culture results are available, and will be sent via email. .
* Collection for baskets for Moms at the Ronald McDonald House will take place next week. See poster on magnetic board..
* Starting May 1, room temperature and humidity will be recorded..
* Let Pat know if you are interested in attending the conference in Rhode Island or the Sysmex conference in New Hampshire.
* Sessions are being scheduled for discussion of the standardized YNHHS Standards of Behavior next week on Tuesday and Friday. Check the schedule.
* For BCSXP, we will be using Barbicide disinfectant for daily Shift Change and weekly Tubing Disinfection procedures in place of 70% Isopropyl alcohol. Barbicide solution is available in a bottle of 125ml concentrate. To prepare Barbicide solution; each bottle will be mixed with 2000mls DI water. The prepared solution is stable for 8 weeks. The time of disinfection will be extended by seven more minutes. So total tube disinfection time will be around 15 minutes now
* DOT training is scheduled for May 3 and 12- Check schedule.
* Reminder- Arkray GO LIVE is Wed. May 10- For the next 2 weeks, urine tech on the day shift will be doing daily maintenance and running QC for practice.
* Note for Reagent change on XNs- need to document that QC was run. Go to History> Reagent Replacement> put comment on reagent that was changed- “ QC ok” and your initials.
* New platelet protocol will be in WAM on Mon. April 24 @10am. All platelets with flags will reflex to PLT-F.
* Week of April 24- Lab Week- consult schedule for list of events and lectures.