# Hematology Lab Weekly Meeting

# Meeting Minutes

June 8, 2017

- Denisa is the new Special Hematology Coordinator. Congratulations, Denisa!

- We wish Kelly success in her new position which she begins on Monday.

- Reminder when only one coagulation tube is received for special coagulation testing, make 2 aliquots for freezing.

- MTS courses will change at the end of June. So please complete by June 30.

- If a STAT specimen has not arrived at hematology at 30 minutes, be proactive and respectively ask about the specimen with the Specimen Processing Coordinator or Shift Coordinator.

- Arkray updates- At this time, monthly maintenance should be done by John, Edona, and Donna until everyone has had time to work and learn the Arkray instrument.

- Reminder that the Arkray sticks are only good for 3 days on the instrument. So there is no waste, it was suggested to write date and time on paper in front of feeder when a new bottle is loaded.

- Note: If the bar code is not read by the Arkray, it will not run the sample. A new label needs to be printed and then rerun.

When canceling a cbc off the XN, send the sample for a redraw in beaker first wait about 1 minute then cancel the test in WAM, this will allow the sample to be tube sorted appropriately in the tube sorter.

All BSINTs coming from other sites will now have the blood sent along with the slides to the main lab, track and tube sort the sample on the XN, be sure to select sorted in WAM for the BSINT prior to putting on the instrument.