***Hematology Lab Meeting.***

*3/8/2018 @ 9:00 am*

|  |  |
| --- | --- |
| *Present:* | **Patricia Gelineau.** |

Announcement:

* The hood in the specimen receiving area will be closed on Saturday due to completion of the floor. Use the other hood by the temporary specimen receiving area.
* We will be assaying Cardinal brand urine controls for the next week on all shifts. These controls can be used for both manual urinalysis( dipstick) and the macroscopic( CHM) urinalysis on the Arkray. Run tubes on the Arkray, specific libraries already set up in the Arkray libraries. Perform the manual dipstick and record on the sheets on the clipboard. Any questions, see Donna. This is in an attempt to reduce our use of urinalysis controls from 3 different types to only two.
* Glucose/Ketones of 3+ or > will no longer need a critical call. After consulting with YSC,SMC and SRC ERS, they don’t need the call in regards to diabetes management. Until this can be fixed in Beaker, to remove this from the Follow-Up Worklist, just click Complete without the call. This goes in effect today, March 8, 2018. If there are any phone calls related to this change, send the info to Pat.

**John**

There are a few changes that will be going live in WAM. First is the new CELLA test code for BSINTs that went live 3/7/18. This new code will result in a smear being made in Cellavison for the residents to use. It shouldn't affect our work flow; we will still be making our two manual smears for BSINTs. Don't delete smears in Cellavison with the CELLA test code, there are instructions on how to filter them out located on the XN and Diff benches.

Next week we hoping to go live with the new orders for the HPCAs that will require Auto differential from the instruments as oppose to a manual differential. These new test codes, “HPC” for WBC, PLT and DIFF and “HPCW” for just WBC, will autoverify off the instrument unless they flag for exceeding linearity, in which case you will perform a dilution as normal. These new test codes should make resulting and running these samples much easier. I will keep you posted as we solidify the go-live date for this.

**Denisa**

“. CRCALLEDTO” Use this fixed comment in result entry under comment section when correcting a result. Only need to include the caregiver that was reached, everything else will auto fill.

* Hazardous Waste training will be scheduled for all in the next 2 weeks. Donna will send out appointments to you. There will be also be 1 evening shift session for those who are interested.