Starting November 1, 2020 we are transitioning to more of a digital format.  What that means is the following:

* Sebia print outs will be scanned and attached to the MD interpretation for all patients that need a review for a MCV <75 and for any patient that reflexes to an electrophoresis.  A copy of the print out will still go down to the residents so they have paper to write their notes on.
* The Electrophoresis (gel and acetate) will be scanned and attached to the MD interpretation for all patients once the electrophoresis is completed and the MD interpretation is added
* The physical gel and acetate  electrophoresis will not be sent down to the residents we will hold on to the gel and acetate in the lab for a week
* We will no longer print out reports for all patients.  We will only be printing out reports for any **abnormal** results that reflex and require a MD interpretation, or for any results that we manually enter.
* The verified reports will only include abnormal results. So it will look a little different than you are used to seeing.  Keep in mind the following reference ranges.

1. HGB A2 = 0-4%
2. HGB F =0-2% (for 6 months and up)
3. HGB A= 94-100% (or 6 months and up)

If you have any questions please let me know.

Thank you

Lisa Mehlin