***Hematology Lab Meeting.***

**1/28/2021 @ 9:00 am**

|  |  |
| --- | --- |
| *Present:* | ***John Errico*** |

Announcement:

When printing out your BSINT list please make sure that everything is on the list and you're not just check off things that didn't get done. So just follow up on old or review what is missing.

Also a new system for the extra smears for BSINT. Each day will have its own separate box. We discard after one week.

When putting problems in the XN log, make note there is a tab for each XN, SP-10 and Cellavision. If you are calling for service, please also record the Ref#. Please complete all maintenance logs. That is an area that CAP inspectors will focus on. Also clean up clutter and discard all reagents, controls, etc. that have expired.

When we notice an IV Contamination, we need to communicate it to the other labs for all tests that has been drawn at that time to cancel.

Make sure everyone is wearing their mask properly. Make sure it is over your nose and below the chin.

Coags samples that are resulted as SAMPLE INTERFERENCE UNABLE TO OBTAIN. RESULTS, need an aliquot saved for further evaluation and put in the bottom of the freezer in a yellow rack.

For AntiXa Coag samples: if the sample is bloody, results can be released up to Hemolysis level 4. If the Hemolysis level is 5, sample is resulted as SAMPLE INTERFERENCE UNABLE TO OBTAIN RESULTS.