***Hematology Lab Meeting.***

**3/04/2021 @ 9:00 am**

|  |  |
| --- | --- |
| *Present:* |  ***John Errico*** |

Announcement:

The new peripheral smear for pathology order is now Live. It may accompany bone marrows but is treated like a BSINT without the printout. When it runs on the XN, it will automatically track to the blood parasite track in Tube Sorter. The 2 smears are stained, labelled and put in slide holder and put in Surg. Path. Bucket. No CBC is run.

 **NOTE**: When processing joint fluids, the hyaluronidase tube is the tube run on the XN for cell counts. The original tube is the one used for prep of cytosmears and wet mount for crystals.

Weekly Coag maintenance – Please check off the maintenance log after performing the weekly maintenance, which is due every Monday - cleaning the instrument and changing the trash's linear. We changed the washing of the canister to quarterly for CS1 and 2 instruments.

Add- on in coag and special coag need to be done in a timely manner. Please let someone in special coag know and they can check on it.

Everyone- if you see an add-on on the beach let the person in that location know. Help each other out.