| Ridgeview Medical Center Laboratory Services |  | Blood Bank |  | Effective Date: 4/26/2012 |
| --- | --- | --- | --- | --- |
| Purpose This procedure provides instructions for preparing O Negative units and tags for issuing without crossmatch, so that 4 units will always be tagged and ready for issue in emergency situations. |  |  |  |  |
| - O Negative red cells only - Secureline Blood-Band Plus must be used - Done as needed or every 3rd Friday for RMC and TTMC |  |  |  |  |
| preparing unit tags and red cells for emergency issue |  |  |  |  |
| Step | Action |  |  |  |
| 1. | Pull a Secureline Blood Band Plus armband. |  |  |  |
| 2. | Select 4 O Negative red cells with expiration dates of at least 30 days in the future. If the units need to be assigned a different Blood-Band number, release them to available before continuing: InventoryComponentsRelease to Availablescan units |  |  |  |
| 3. | Product Emergency IssueUnknown |  |  |  |
| 4. | First Name= Last Name= Medical Record Number= |  | }Enter Blood Band Plus Number for all |  |
| 5. | Service Provider= Issue Location= |  | }Enter RMC for both |  |
| 6. | Released to= |  | Enter Emergency Release |  |
| 7. | Scan Standard Product Code and Unit Number |  |  |  |
| 8. | Perform visual inspection |  | Check Visual Inspection box |  |
| 9. | Accept  OK |  |  |  |
| 10. | “You have successfully issued unit!” OK |  | Tag(s) will print |  |
| 10. | Place label from tag on unit |  |  |  |
| 11. | Repeat for remaining 3 units |  | OK |  |
| 12. | Product Return |  |  |  |
| 13. | Scan unit number and Standard Product Code |  |  |  |
| 14. | Status |  | Make units Available |  |
| 15. | Visual Insp OK |  | Check box |  |
| 16. | Click or scan Accept |  |  |  |
| 17. | Repeat for remaining units |  | Click OK |  |
| 20. | Pull 2-3 segments, place in plasma vial labeled with sticker |  |  |  |
| 21. | Place a Blood Band sticker on the Emergency Issue Worksheet |  |  |  |
| 22. | Tear off remaining Blood Band stickers and place them in vial with segments |  |  |  |
| 23. | On unit tag circle in red Crossmatch NOT Performed |  |  |  |
| 24. | Rubber band the unit tag, vial, armband, and the worksheet to the unit and place in the back slot of the O Negative row. |  |  |  |
| 25. | Unit is now ready to be issued uncrossmatched when needed. |  |  |  |

Procedure Notes

- After the emergency has passed, those units that were tagged but not issued must be returned to available.  Four additional units (may include those previously selected) must now be set up with a new Secureline Blood-Band armband.

- Routine change-over of units will be performed by Cheryl Webster, Mary Farlow, or designate every third Friday, following the TTMC change-over schedule.

Safety

Refer to Laboratory procedure #4002-1: Infection Control and Laboratory Safety Hygiene Procedure and all other safety procedures of the laboratory.

Related Documents

Emergency Issue and Post Issue Crossmatch

Emergency Issue Worksheet

| Date: | Author: |  |  |  |  |  |  | Date: | Validated by: |  |  | Date: |  |  | Approved by: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4/8/12 | Cheryl Webster, MLS (ASCP)CM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Lead Folder/Blood Bank/Preparation of Units for Emergency Issue |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  | Initials: |  |  | Revision and Reason |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Discontinued |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  | Reason: |  |  |  |  |  |  |  |  |  |  |  | Initials: |  |  |