| Ridgeview Medical Center Laboratory Services |  |  | Blood Bank | Effective Date: 9/26/08 |
| --- | --- | --- | --- | --- |
| Purpose The purpose of this procedure is to provide instructions for the computer steps for selection of blood products for crossmatch or issue. |  |  |  |  |
| Procedure |  |  |  |  |
| Step | Prompt | Action |  |  |
| 1. | Patient/Order Module |  |  |  |
| 2. | PW  √ Inc.Work  Query (red ?) |  |  |  |
| 3. | Select blood product order from the grid | Click to select |  |  |
| 4. | PS on the tool bar | Click |  |  |
|  | Product Selection window |  |  |  |
| 5. | Barcode field | Scan unit number and Standard Product Code ISBT labeling–scan unit number/group and Rh barcode scan product code/expiration date barcode |  |  |
|  | If manual entry is required, proceed to the following: *MANUAL ENTRY If barcodes are damaged or unable to be scanned, units need to be selected manually by the following procedure:. Step; Prompt; Action. 1.; MANUAL; Click. 2.; Product Code; Enter Standard Product Code from unit labelTab. 3.; Unit Number; Enter Unit Number and Check Sum digit (on ISBT labeled products). 4.; OK; Click. |

| 6. | Accept | Click |
| --- | --- | --- |
| 7. | When selecting Platelets, FFP, or Cryoglobulin  | √ Print Product ID Tag box  Unit Tags will print |
| 8. | When selecting RBCs | Continue on to crossmatch from PW |
| 9. | OK | Click |
| Safety Refer to Laboratory Procedure #4002-1: Infection Control and Laboratory Safety Hygiene Procedure and all other safety procedures of the laboratory. |  |  |
| Related Documents Platelets – Apheresis Cryoprecipitated AHF Dividing Units Leukoreduced Red Blood Cells Fresh Frozen Plasma, Frozen Plasma Issuing Products in Horizon Blood Bank Crossmatch Reference Horizon Blood Bank Quick Reference Cards |  |  |

| Date: |  | Author: |  |  |  |  | Date: |  |  | Validated by: |  |  |  | Date: |  |  |  | Approved by: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11/06/07 |  | Cheryl Webster, MT(ASCP) Jo Lohmann, MT(ASCP) |  |  |  |  | 4/10/08 |  | Cheryl Webster, MT(ASCP) |  |  |  |  | 12/08 |  | T. Hallin, MD |  |  |  |  |  |
| L: Blood Bank: Product Selection in Horizon Blood Bank |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: | Initials: |  |  | Revision and Reason |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Discontinued |  |  |
| --- | --- | --- |
| Date: | Reason: | Initials: |