| Ridgeview Medical Center Laboratory Services |  |  | Blood Bank | Effective Date: 9/26/08 |
| --- | --- | --- | --- | --- |
| Purpose This procedure provides instructions for recording, inactivating, and editing specimens in Horizon Blood Bank. It also includes directions for canceling orders in Horizon Blood Bank. |  |  |  |  |
| Specimen Refer to Specimen Requirements, Labeling and Storage for specific specimen requirements. Note Before you record a specimen, check the patient record to see if there already is a current one. If there is a current specimen on a current visit, the expiration date of the specimen will display on the At-a-Glance-Bar. |  |  |  |  |
| Procedure Recording a Specimen Follow appropriate procedure  - New or Known patients Go to step 1 - Preadmit Surgical  See Preadmission Surgical Workup procedure - Computer Downtime See Computer Downtime procedure |  |  |  |  |
| Step | Prompt | Action |  |  |
|  | Patient/Order module |  |  |  |
| 1. | Patient ( on tool bar)  | Choose Record Specimen |  |  |
| 2. | Medical Record #  | Scan barcode label on tube |  |  |
|  | Patients may be New or Known – for New, proceed to Step 3, for Known, go to Step 6 |  |  |  |
| 3. | “No Possible Matches Found” | OK  NEW |  |  |
| 4. | Open Patient from ADT Holding form Patient information appears in bottom grid  | OK |  |  |
| 5. | New Patient –Using ADT Holding Defaults Account ID on patient profile must match visit ID on tube  | OK |  |  |
|  | Open Patient window |  |  |  |
| 6. | Patient name appears in lower grid (Choose correct visit ID from tube) | OK |  |  |
|  | Record Specimen window |  |  |  |
| 7. | Accession # | Scan Accession # off of tube |  |  |
| 8. | External ID: | Enter Secureline Armband #, if present on tube |  |  |
| 9. | Phleb initials, date, time fields | Enter information from tube |  |  |
| 10. |  | OK |  |  |
|  | Once a specimen is recorded, orders will go directly to the Pending Worklog to be resulted. |  |  |  |

Changing the Specimen ID

You have a current specimen, but you have a new specimen which needs to be tested -

(e.g. FMBS on an OB with a Type and Screen done on the first specimen)

The first specimen remains the current one, so if you need to add a XM at a later date, you will be using the correct specimen.

| Step | Prompt | Action |
| --- | --- | --- |
| 1. | PW  √ Incomplete Work  Red ? |  |
|  | DO NOT SELECT THE TEST! - proceed to Step 7 If test was already selected, proceed to Step 2 |  |
| 2. | Orders (on tool bar ) | Choose Outstanding Tests and Modifications |
| 3. | Technician ID field | Select tech initials from the drop down box  |
| 4. | Query | Select correct Test and Modification |
| 5. | Deselect | Apply |
| 6. | PW  √ Incomplete Work  Red ? |  |
| 7. | Scroll to the right to see the Accession # on the order  if it does not match the specimen you are using, you need to change it |  |
| 8. | OP on the button bar | Click |
|  | Patient Order window opens |  |
| 9. | Specimen ID field | Delete accession # and enter correct one |
| 10. | Time | Enter time |
| 11. | SAVE | Click and close |
| 12. | Return to PW  Specimen ID # is now correct |  |

Editing a Specimen

To change anything regarding the specimen, Status, or Type

| Step | Action |  |  |
| --- | --- | --- | --- |
| 1. | File  Open  Patient |  |  |
| 2. | MR # field |  | Enter MR #  Query |
|  | Patient information appears in lower grid  |  | OK |
|  | Patient Profile opens |  |  |
| 3. | EDIT (on tool bar) | Choose Edit Patient Specimens |  |
| 4. | Highlight correct specimen  | Detail |  |
|  | If changing the specimen Status  proceed to Step 5 If changing the specimen Type  proceed to Step 7 |  |  |
| 5. | Status field drop down box | Select appropriate status: - Available - Discarded - Inactive - QNS - Rejected |  |
| 6. | Go to Step 8 |  |  |
| 7. | Type field drop down box  | Select appropriate type: - Neonatal - Outpatient - Preadmit *Changing a specimen to Preadmit will generate “Recalculate Specimen Expiration Date/Time?” Yes Specimen outdate will change from 3 days to 2 weeks. - Routine - Visit |  |
| 8. | OK  Close |  |  |

Canceling an Order

An order may be cancelled only when tests, modifications, and blood products are not assigned to a tech’s worklog and the item status is ordered.  See Changing the Specimen ID, Steps 2-5 to deselect items from a tech’s worklog.

Step; Prompt; Action. 1.; File  Open; Select Order. Open Order window. 2.; Enter Order information; Query. 3.; Orders grid; Select correct order  OK (exact match will automatically display Order Profile). Order Profile window. 4.; Orders (on tool bar) ; Select Cancel Order. 5.; “Do you want to commit changes?”; OK. 6.; SAVE and close.

Canceling an Order Item When part of an order is completed and the remainder is to be cancelled. Step; Prompt; Action. 1.; File  Open; Order. Open Order window. 2.; Enter Order information; Select Query. 3.; Orders grid; Select correct order  OK (exact match will automatically display Order Profile). Order Profile window. For tests with the same Order ID number  go to Step 4 If the test is part of a test battery (e.g. TST=GRH & ABSC) go to Step 8. 4.; Items grid; Select item to be cancelled. 5.; Orders ( on tool bar)  Item; Select Cancel. 6.; “Do you want to commit changes?”; OK. 7.; Go to Step 13. 8.; Orders  Order Detail. 9.; Products, Modifications, Tests Service, Accessory, Derivative tab; Select correct tab. 10.; Item number; Select to highlight. 11.; Cancel Item; Click Status changes from “Not Tested” to “ Cancelled”. 12.; OK. 13.; SAVE and close.

Limitations Specimens must be received in Horizon Lab before being recorded in HBB.

Safety Refer to Laboratory Procedure: Infection Control, Laboratory Safety Hygiene Procedure and all other safety procedures of the Laboratory.

Related Documents Preadmission Surgical Workup Computer Downtime

References Horizon Blood Bank Quick Reference Cards

| Date: |  | Author: |  |  |  |  | Date: |  | Validated by: |  |  |  | Date: |  | Approved by: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12/16/07 |  | Cheryl Webster, MT(ASCP) Jo Lohmann, MT(ASCP) |  |  |  |  | 6/24/08 4/9/08 |  | Jo Lohmann, MT(ASCP) Cheryl Webster, MT(ASCP) |  |  |  | 12/08 |  | T. Hallin, MD |  |  |  |  |
| Specimen Handling in Horizon Blood Bank |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: | Initials: |  |  | Revision and Reason |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Discontinued |  |  |
| --- | --- | --- |
| Date: | Reason: | Initials: |