| Ridgeview Medical Center Laboratory Services | Blood Bank | Effective Date : 9/26/08 |
| --- | --- | --- |
| Purpose This procedure defines specimen requirements and criteria for evaluating specimen acceptability and labeling for blood bank testing at both RMC and our reference laboratory. It also defines how specimens are separated, stored, and saved. Specimens which do not meet these requirements must be rejected. Patient Identification - Patient must be identified with two independent identifiers (i.e. name and medical record number or date of birth or other identifying number) per RMC laboratory procedure: Patient Identification for Specimen Collection - Alternate Emergency Armbands: - Patients without hospital armbands must be banded with an Alternate Emergency Armband - Outpatients presenting for transfusion or possible transfusion must be banded with an Alternate Emergency Armband, even if they have a hospital armband. - The Armband Number will be entered in the External ID field on the Record Specimen window in HBB - Cord Blood Specimens: Refer to Cord Blood Workup procedure. Specimen Identification and Labeling - Specimen must be labeled and identified in the presence of the patient according to RMC laboratory procedure: Specimen Collection and Laboratory Handling - All identifying information on the sample request is in agreement with that on the sample label. In case of discrepancy or doubt, another sample shall be obtained. - Unacceptable specimens are processed according to RMC laboratory procedure: Unacceptable, Mislabeled/Unlabeled Specimen Processing |  |  |
| Specimen Requirement for Ridgeview Medical Center Laboratory Blood Bank - Specimen of choice is a properly identified and labeled 6ml (preferred)or 3 ml EDTA tube - Specimens for transfusion testing must be obtained within three days of transfusion, except for preadmission surgical workups on patients with known antibodies. - EDTA capillary tubes may be used for infants and hard-to-draw patients. - Serum and red cells from clotted blood samples are also acceptable, but not preferred, due to the possible presence of fibrin in incompletely clotted samples which can cause false positive reactions due to micro-aggregates. - Hemolysis is unacceptable and lipemia is undesirable. Specimen Processing and Storage - Tubes are centrifuged for 2-3 minutes at 3.6 rpm (StatSpin). Plasma is separated from cells, placed in a plastic vial, labeled with the same accession number as the EDTA cells. Tubes are banded together after use. - Specimens that cannot be tested immediately should be centrifuged, separated, banded together, and stored at 2-8C. - Specimens that are refrigerated and not separated cannot be used. - Specimens stored at room temperature for 8 hours or less may be centrifuged and used. - After testing is completed, all specimens are kept 14 days, separated and stored at 2-8C. The specimens are disposed of in a biohazard container after storage. - Segments from transfused donor cells will be kept refrigerated for 14 days. This allows for repeat and/or additional testing if patient has an adverse reaction. |  |  |

Specimen Requirements for Reference Laboratory Testing - Specimens must be labeled with patient’s name, MR# and/or birth date, date and time drawn, phlebotomist’s initials. Specimens are to be sent unseparated. - See Memorial Blood Center Reference Consultation Services procedure and Request for Reference Laboratory Testing form for further information. Test; Sample Required. ABO/Rh Typing; 6 ml EDTA whole blood. ABID,XM; 6 ml EDTA whole blood (If the patient has a positive DAT, include another 6 ml EDTA whole blood tube). DAT; 6 ml EDTA whole blood. Elution Study; 6 ml EDTA whole blood. HDN evaluation; Mom: 10 ml clotted blood Baby: 2-5 ml cord blood. Kleihauer-Betke; 6 ml EDTA whole blood. Serious Outcome of Transfusion (including TRALI) and other testing Call Memorial Blood Centers for their recommendations. Limitations - If the patient has been transfused with a blood component containing red blood cells in the preceding three months, or has been pregnant within the preceding three months, or if the history is uncertain or unavailable, a sample for transfusion testing must be obtained on the patient within three days of a scheduled transfusion. - Rare antibodies, especially Anti-Jka and Jkb may not be detected with the use of EDTA plasma and Anti IgG sera. These antibodies bind complement which is not present in EDTA plasma and Anti IgG sera. - If the patient armband is removed before the specimen expires, the patient must be rebanded and redrawn. All testing must be repeated on the new specimen. Safety Refer to Laboratory Procedure: Infection Control and Laboratory Safety Hygiene Procedure and all other safety policies of the lab. Related Documents Patient Identification for Specimen Collection (RMC Laboratory Procedure) Specimen Collection and Laboratory Handling (RMC Laboratory Procedure) Unacceptable, Mislabeled/Unlabeled Specimen Processing (RMC Laboratory Procedure)

Request for Reference Laboratory Testing – Memorial Blood Centers Memorial Blood Center Reference Consultation Services Preadmission Surgical Workups for Patients with Known Antibodies References AABB Technical Manual, 15th Edition, 2005, pages 407-411. Horizon Blood Bank Quick Reference Guide. Memorial Blood Centers Resource Guide

Standards for Blood Bank and Transfusion Services, 23rd Edition, 2005, pages 36-39.

| Date: | Author: |  |  |  |  |  |  | Date: |  | Validated by: |  |  |  | Date: |  |  | Approved by: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11/8/07 | Mary Farlow, MT, SBB (ASCP) Cheryl Webster, MT(ASCP) Jo Lohmann, MT(ASCP) |  |  |  |  |  |  | 4/9/08 |  | Cheryl Webster, MT(ASCP) |  |  |  | 12/08 |  |  | T. Hallin, MD |  |  |  |
| Specimen Requirements, Labeling, and Storage |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  | Initials: |  |  | Revision and Reason |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Discontinued |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  | Reason: |  |  |  |  |  |  |  |  |  |  |  |  |  | Initials: |  |  |