**Purpose**

The Gas Pak EZ Campy Gas Generating Pouch System is checked periodically for its ability to support the growth of Campylobacter.

**Supplies and Equipment**

Gas Pak EZ Campy Gas Generating Pouch System

Sterile inoculating loop

Incubator set at 42⁰C + 1⁰C

*Campylobactr jejuni* isolate

**Procedure**

1. Every other day subculture *Campylobacter jejuni* on to a fresh Sheep Blood Agar plate.
2. Place in Campy bag, add gas generator, and seal the bag.
3. Place the bag in Campy incubator at 42⁰C + 1⁰C.
4. Examine at 16-24 hours for growth.
5. Record on Daily Microbiology Control sheet.
6. Examine again at 24-48 hours and re-subculture. Record results.

**Related Procedure**

8186J Gas Pak EZ Gas Generating Pouch Systems

**Reference**

BD GasPak EZ Gas Generating Pouch Systems package insert. Becton Dickenson and Company; Sparks, MD 21152. #8010419, 2002/11

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Date:** | | **Author:** | | | | | | **Date:** | | | **Validated by:** | | | | | **Date:** | | | | **Approved by:** | | |
| 7/16/2012 | | Elaine Krueger | | |  | | | | |  | | |  | | | | |
| *File name and location (G:XXXXXXXXXXXXXXX)* | | | | | | | | | | | | | | | | | | | | | | |
| **Annual Review** | | | | | | | | | | | | | | | | | | | | | | |
| **Date:** |  | |  | | |  |  | |  | | |  | |  |  | |  | |  | |  |  |
| **Initials:** |  | |  | | |  |  | |  | | |  | |  |  | |  | |  | |  |  |
| **Date:** | **Initials:** | | | **Revision and Reason** | | | | | | | | | | | | | | | | | | |
|  |  | | |  | | | | | | | | | | | | | | | | | | |
|  |  | | |  | | | | | | | | | | | | | | | | | | |

|  |  |  |
| --- | --- | --- |
| **Discontinued** | | |
| Date: | Reason: | Initials: |