Purpose

The Gas Pak EZ Campy Gas Generating Pouch System is checked periodically for its ability to support the growth of Campylobacter.

Supplies and Equipment

Gas Pak EZ Campy Gas Generating Pouch System

Sterile inoculating loop

Incubator set at 42⁰C + 1⁰C

Campylobactr jejuni isolate

Procedure

- Every other day subculture Campylobacter jejuni on to a fresh Sheep Blood Agar plate.

- Place in Campy bag, add gas generator, and seal the bag.

- Place the bag in Campy incubator at 42⁰C + 1⁰C.

- Examine at 16-24 hours for growth.

- Record on Daily Microbiology Control sheet.

- Examine again at 24-48 hours and re-subculture.  Record results.

Related Procedure

8186J Gas Pak EZ Gas Generating Pouch Systems

Reference

BD GasPak EZ Gas Generating Pouch Systems package insert.  Becton Dickenson and Company; Sparks, MD 21152.  #8010419, 2002/11

| Date: |  | Author: |  |  |  |  |  | Date: |  |  | Validated by: |  |  |  |  | Date: |  |  |  | Approved by: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 7/16/2012 |  | Elaine Krueger |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| File name and location (G:XXXXXXXXXXXXXXX) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: | Initials: |  |  | Revision and Reason |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Discontinued |  |  |
| --- | --- | --- |
| Date: | Reason: | Initials: |