| Ridgeview Medical Center Laboratory Services | Blood Bank | Effective Date: 12/17/2008 |
| --- | --- | --- |

| Purpose This procedure provides instructions for the detection and identification of clinically significant antibodies and for crossmatching of red blood cells using the prewarm method. |  |  |
| --- | --- | --- |
| Specimen The specimen of choice is EDTA anticoagulated red cells or segments from donor units. Refer to Specimen Requirements, Labeling, and Storage procedure |  |  |
| Materials |  |  |
| Reagents | Supplies | Equipment |
| - Commercial Screen Cells stored at 2-8°C. - Commercial Coombs Control Cells stored at 2-8° C. - Anti Human Globulin (Anti IgG) stored at 2-8°C. - Saline | - 12 x 75 tubes - Pipet tips | - Centrifuge/cell washer - Incubator - Pipettor - Blood Bank mirror - Microscope |

Quality Control

Prior to routine testing, reagents must be tested with appropriate controls each day of use. Refer to Daily Reagent Quality Control procedure.

Prepare Cell Suspensions for the Specific Test to be Performed

Indirect Antibody Screen - Use Screen Cell I and II and label tubes appropriately - Screen Cells must be concentrated to 4%-see Cell Suspensions and Conversions procedure Panel - Use commercial panel cells and label tubes appropriately - Panel cells must be concentrated to 4%-see Cell suspensions and Conversions procedure - Auto Control must be performed with Panel. Make patient cell suspension as follows: Step; Auto Control. 1.; Label a tube with patient’s initials and “4%”. Make a 4% cell suspension of patient’s cells with saline.. 2.; Label one tube with patient initials and “A” for Auto control and add one drop of 4% suspension.. 3.; Follow procedure for Prewarm Method.. Crossmatch - Select units to be tested and label tubes with unit numbers (see Product Selection in HBB) - Make a 4% cell suspension with saline

| Procedure |  |  |
| --- | --- | --- |
| Step | Action |  |
| 1. | Prewarm a bottle of saline to 37° in small incubator in Microbiology. |  |
| 2. | Warm a labeled tube of patient’s EDTA plasma (enough for all tests) at 37° for 15 minutes in heating block. |  |
| 3. | Label tubes and add one drop of previously prepared cell suspension to each tube for testing desired. IAT; ABID; Crossmatch. Scr Cell I Scr Cell II; Panel Cells 1-11 and Auto Control; Donor (unit) cells. |
| 4. | Warm tubes at 37 for 15 minutes. |  |
| 5. | Without removing tubes from the incubator, add two drops of patient’s plasma to each tube. |  |
| 6. | Mix gently without removing from the incubator. |  |
| 7. | Incubate at 37°C for 30 to 60 minutes. |  |
| 8. | After the incubation period, add warm saline to the tubes without removing from the incubator. |  |
| 9. | Centrifuge for 60 seconds at 3400 rpm and decant. |  |
| 10. | Wash tubes two more times with warm saline, decanting completely after the final wash. |  |
| 11. | Add two drops Anti IgG (Anti-Human Globulin) to each tube. |  |
| 12. | Mix gently and centrifuge for 15 seconds at 3400 rpm. |  |
| 13. | Order test battery (ABSCO, ABIDO) according to testing being performed or use binoculars to select correct test from test battery. |  |
| 14. | While observing in the mirror, immediately and completely resuspend the cell buttons and examine macroscopically for agglutination. |  |
| 15. | Interpret the reactions as negative, 1+, 2+, 3+, or 4+ following Interpreting Reactions procedure. All macroscopically negative tubes must be checked microscopically. |  |
| 16. | Record results following Resulting Testing from the Pending Worklog procedure. |  |
| 17. | Add one drop of Coombs Control Cells to all negatively reacting tubes. |  |
| 18. | Mix gently and centrifuge for 15 seconds at 3400 rpm. |  |
| 19. | While observing in the mirror, resuspend cells by gentle agitation looking for agglutination. |  |
| 20. | Grade reactions as negative, 1+, 2+, 3+, or 4+ and record. |  |
| 21. | Reaction must be 2+ or greater for a valid test. If less than 2+, test must be repeated. |  |
| 22. | Interpretation field | Enter appropriate results depending on test performed or click on binoculars to select test interpretation. |
| 23. | If performing a crossmatch, label unit according to Crossmatch-Routine procedure. |  |
| 24. | Discard reaction tubes and store specimen. |  |
| 25. | Add Patient Comment: “Prewarm method performed” |  |

Interpretation

Refer to Interpreting Reactions procedure.

No agglutination or hemolysis constitutes a negative or compatible result, depending on the test performed.

Agglutination and/or hemolysis constitutes a positive or incompatible result, depending on the test performed.

| Notes - Cold agglutinins are usually IgM and not considered clinically significant - Prewarm usually resolves - MN, Leª, P, I, Luª are examples of cold reactive antibodies. Limitations - The prewarm method is used to detect cold-reactive autoantibodies that could mask the presence of a clinically significant antibody. - The prewarm method should be used with caution as it has been shown to cause decreased reactivity in some clinically significant and weak antibodies. - Positive results at immediate spin may be the result of cold reactive antibodies (IgM) and may not be clinically significant Possible Sources of Error - Anti-IgG has not been added - Improper centrifugation - Patient sample not added - Inadequate washing - Inappropriate concentration of red cells, i.e. using 0.8% instead of 3% - Saline not prewarmed Safety Refer to Laboratory Procedure #4002-1: Infection Control and Laboratory Safety Hygiene Procedure and all safety policies of the laboratory. Related Documents Cell Suspensions and Conversions Product Selection in HBB Interpreting Reactions Resulting Testing from the Pending Worklog Crossmatch-Routine Specimen Requirements, Labeling, and Storage. References AABB Technical Manual, 15th Edition, 2005 Standards for Blood bank and Transfusion Services, 25th Edition.. |
| --- |
| Date: |  | Author: |  |  |  |  |  |  | Date: |  | Validated by: |  |  |  | Date: |  | Approved by: |  |  |  |
| 12/17/08 |  | Mary Farlow, MT(ASCP) SBB Cheryl Webster, MT(ASCP) |  |  |  |  |  |  | 12/17/08 |  | Cheryl Webster, MT(ASCP) |  |  |  | 12/08 |  | T. Hallin, MD |  |  |  |
| Alternate Method - Prewarm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: | Initials: |  |  |  | Revision and Reason |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Discontinued |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  | Reason: |  |  |  |  |  |  |  |  |  |  |  |  |  | Initials: |  |  |