| Ridgeview Medical Center Laboratory Services | Blood Bank | Effective Date: 12/17/2008 |
| --- | --- | --- |

Purpose

This procedure provides directions for performing Antibody Identification using MTS gel method technology.

Specimen

The specimen of choice is plasma from EDTA anticoagulated whole blood.

Refer to Specimen Requirements, Labeling, and Storage.

Quality Control

Prior to routine testing, reagents must be tested with appropriate control each day of use. Refer to the Daily Quality Control procedure.  Controls must exhibit expected results for testing to be valid before reporting any patient results.

Materials

| Reagents | Supplies | Equipment |
| --- | --- | --- |
|  Commercial Panel Cells stored at 2-8C.  MTS IgG Card stored at 2-25C. • MTS Diluent 2 stored at 2-8C. |  Pipet tips |  MTS incubator  MTS centrifuge  MTS pipettor |

Procedure

| Step | Action |
| --- | --- |
| 1. | Check patient history: see Resulting Testing from the Pending Worklog-Record Checks and Rechecks for previous antibodies or any problems with testing. |
| 2. | Check for ABO/Rh on current specimen. |
| 3. | Order ABID1 in HLab or from PW in HBB. |
| 4. | Check microtube wells for IgG layer and any other signs of contamination. See Quality Control procedure. |
| 5. | Label MTS gel card with patient’s name and each microtube with corresponding panel cell number. Label the last microtube for patient’s autocontrol. |
| 6. | Prepare a 0.8% cell suspension of the patient’s red blood cells. See Cell Suspensions and Conversions |
| An Auto Control will be performed along with the panel cells |  |
| 7. | Pipette 50l of each panel cell into the appropriately labeled microtube. - Cells must be pipetted first to allow for proper mixing with the addition of the plasma - The pipet tip should not touch the gel because carryover may occur causing erroneous results |
| 8. | Pipette 50l of the 0.8% suspension of patient cells into the appropriately labeled microtube |
| 9. | Add 25l of patient plasma to each microtube. |
| 10. | Incubate at 37° C for 15 minutes. (Incubation may be extended to 30 minutes) |
| 11. | Centrifuge in the MTS centrifuge for 10 minutes at 895 rpm. |
| 12. | Read the front and back of each microtube macroscopically. |
| 13. | Interpret the reactions as 0, 1+, 2+, 3+, or 4+. See Interpreting Reactions procedure |
| 14. | Result all testing on Panel Antigram. |
| 15. | Follow Antibody worksheet (see following) to perform crossoff and identification. |
| 16. | Record antibody identified in the interpretation field or click on binoculars to find correct antibody For Anti-RHG, enter “Rhogam administered on (enter date)” |
| 17. | To record multiple antibodies, right click on interpretation field and Add a Row. |
| 18. | Antigen type patient, if not previously done, and donor units. See Antigen Testing Guide. |
| 19. | Crossmatch two units (or number ordered) using MTS gel crossmatch procedure. |
| 20. | Discard the gel card if all wells are used, or place the card with foil covered wells into rack holder to be used later. |

Procedure Notes

- Clots, platelets or other artifacts may cause some red cells to be entrapped at the top of the gel and may cause a false positive. Plasma should be recentrifuged to remove artifacts and the screen repeated

- If the patient reacts positively with a component of the gel and all microtubes are positive, it will be necessary to perform an Alternate Method (Alb or LISS). Add test ABSCO (Antibody Screen Other)

- Patients who have Anti-E or Anti-c should be antigen typed for both E and c.  If antigen typing is negative, blood negative for these antigens should be selected for transfusion.

Limitations

- When using MTS gel system, certain antibodies especially Anti E and Anti K may not react.

- IgM antibodies may react in the MTS gel system even though the system uses Anti IgG. These antibodies react in the upper portion of the microtube resulting in a positive reaction.

- False negative results may occur due to: a low frequency antibody, weak reacting antibody, or the fading phenomenon.

- The pretransfusion sample used for testing must be no more than three days old at the time of the intended transfusion if the patient has been pregnant or transfused within the previous three months, or if the pregnancy history and transfusion history are uncertain.  The day of the collection is counted as day zero.

Interpretation of Results

Refer to Interpreting Reactions procedure

- Negative result-Complete sedimentation of all red blood cells to the bottom of the microtube

- Positive result-Red blood cells suspended on the top of the gel or dispersed throughout the gel in varying degrees, indicating the presence of an antibody in patient’s plasma.  Some positive reactions can have a small button of red blood cells remaining in the bottom of the microtube.

Notes

Antiglobulin Reaction Phase

- Usually IgG  these are considered clinically significant

- Can cause hemolytic transfusion reactions and hemolytic disease of the newborn.

- Rh, Ss, Kell, Duffy, Kidd and Lub are the most common

Safety

Refer to Laboratory Procedure#4002-1:  Infection Control and Laboratory Safety Hygiene Procedure and all safety policies of the laboratory.

Related Documents

ABO-Forward and Reverse, Rh-WeakD

Specimen Requirements, Labeling, and Storage

Cell Suspensions and Conversions

Interpreting Reactions

Resulting Testing from the Pending Worklog

Alternate Methods - Albumin, LISS

Alternate Methods - Prewarm

References

- AABB Technical Manual, 15th Edition, 2005

- Standards for Blood Banks and Transfusion Services, 25th edition, 2008

- Ortho Clinical Diagnostics, Inc. Anti-Human Globulin Anti-IgG (Rabbit) MTS Anti-IgG card package insert, December 2004.

- Harmening, DM. Modern Blood Banking and Transfusion Practices, 5th Edition. F.A.

Davis Company. Philadelphia, Pennsylvania, 2005.

|  |  | Author: |  |  |  | Date: |  |  | Validated by: |  |  | Date: |  | Approved by: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12/17/08 |  | Mary Farlow, MT (ASCP) SBB Jo Lohmann, MT (ASCP) |  |  |  | 12/17/08 |  |  | Cheryl Webster, MT(ASCP) |  |  | 12/08 |  | T. Hallin,MD |  |  |
| L: Blood Bank: Antibody Identification – MTS Gel Method |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: | Initials: |  | Revision and Reason |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4/24/12 | CW |  | Change test ID to ABID1; eliminate entry of reactions; add comment regarding Anti-RHG |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Discontinued |  |  |
| --- | --- | --- |
| Date: | Reason: | Initials: |