| Ridgeview Medical Center Laboratory Services |  | Blood Bank |  |  | Effective Date: 9/26/08 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Purpose This procedure provides instructions for generating reports necessary to evaluate inventory issues, patient result review, and override issues. It also indicates the function of these reports and necessary action required to use them appropriately. |  |  |  |  |  |  |
| Patient/Order module Options Reports Blood Bank tech to run the following reports each morning in the order listed |  |  |  |  |  |  |
| Name of Report | Action |  | Function/Required Action |  |  |  |
| Proc Return Products to Available | OKRunClose |  | Returns products to available when specimen expires |  |  |  |
| Proc Set Inventory Status to Transfused | OKRun Close |  | Updates all units issued >8 hours previously to a transfused status |  |  |  |
| Automatic Product Return to Available Rep | OK Provider=RMC Date=leave blank PrintOK Close |  | Lists expired crossmatches, to be used to remove tags and stickers from units. Remove tags and stickers as necessary. |  |  |  |
| Daily Outdated Products Report | OK Location=RMC BB Expiration date=yesterday’s date PrintOKClose |  | Discard any expired products, both physically and in HBB. |  |  |  |
| Outdated Products Summary Report | OK Location=RMC BB Expiration date=today’s date To= add 5 days PrintOK |  | Check this list for A and O units to be returned to supplier |  |  |  |
| Outdated Products Summary Report | Location=RMC BB Expiration date=today’s date To=add 12 days Print OKClose |  | Check this list for B and AB units to be returned to supplier |  |  |  |
| Outdated Products Summary Report | The first of the month only Location=RMC BB Expiration date=today’s date To=add 3 months and one day Print OKClose |  | Check this list for frozen plasma components to return to supplier |  |  |  |
| User Report Override Factor | OKPrint From date=yesterday’s date To date=today’s date OKClose |  | Lists any overrides or exceptions to standard procedure which occurred the previous day. Investigate and record findings on report, initial, date and place in file for supervisor review |  |  |  |
| User Report Available Inventory | OK Preview Go last page Print last page only Close |  | Lists crossmatched units Retain and use for stickers on patients with completed work. Discard when subsequent report is printed. |  |  |  |
| Inventory Level Report | OK  Print Close Run at ~ 0700 and ~1500 |  | Lists all products, available and assigned. Compare actual product counts to report and investigate any discrepancies. Counts are performed twice daily by the day tech and the 3PM tech. Order products accordingly. Place on clipboard; discard when subsequent report is printed. |  |  |  |
| Surgery Schedule Report | From desktopdbl click Surgery Schedule icon Enter date for 7 days in the future as directed |  | Look up all patients having surgeries requiring T&S. Record “new” or “patient’s type”. Check for antibodies and record on antibody log if, necessary, then store in appropriate daily folder. |  |  |  |
| Surgery Schedule Report | From desktopdbl click Surgery Schedule icon Enter tomorrow’s date |  | Compare to the schedule in the daily folder – add any additional surgeries as necessary. Record “new” or “patient’s type” and place in the “Next Day Surgery Schedule” folder on “Phleb island”. |  |  |  |
| Lab Log Lite-Blood Bank | Automatically generated at 0700,1500, 0015 |  | Provides an alphabetical list of patients with current specimens on whom ABSC and/or ABO/Rh testing has been done Refer to this as necessary to determine whether or not patient has a current specimen and antibody screen. Place on clipboard; discard when subsequent report is printed. |  |  |  |
| These reports are to be generated and evaluated by the blood bank tech. Supervisor will review all Override Reports. |  |  |  |  |  |  |

| Date: |  | Author: |  |  |  |  | Date: |  |  | Validated by: |  |  |  | Date: |  | Approved by: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 6/19/2008 |  | Cheryl Webster, MT(ASCP) Jo Lohmann, MT(ASCP) |  |  |  |  | 6/25/2008 |  | Jo Lohmann, MT(ASCP) |  |  |  |  | 12/08 |  | T. Hallin, MD |  |  |
| Blood Bank Daily Reports |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: | Initials: |  |  | Revision and Reason |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4/9/12 | CW |  |  | Add Proc Set Issued to Transfused for transfusion of units in HBB |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Discontinued |  |  |
| --- | --- | --- |
| Date: | Reason: | Initials: |