| Ridgeview Medical Center Laboratory Services |  |  | Blood Bank | Effective Date: 12/15/2010 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Purpose This procedure provides directions for determining the presence or absence of C, E, c, and e antigens on red cells. - Anti-C, E, c, and e are clinically significant antibodies because they are produced by stimulation and may cause hemolytic transfusion reactions and hemolytic disease of the newborn. - Once an antibody has been identified in the patient’s serum, their red blood cells must be tested and found negative for the corresponding antigen. - Red blood cell components selected for transfusion must be negative for the corresponding antigen. - Patients who have Anti-E or Anti-c should be antigen typed for both E and c. If antigen typing is negative, blood negative for these antigens should be selected for transfusion. |  |  |  |  |  |  |  |
| Specimen The specimen of choice is fresh EDTA red blood cells or segments from donor units. Refer to Specimen Requirements, Labeling, and Storage |  |  |  |  |  |  |  |
| Materials |  |  |  |  |  |  |  |
| Reagents |  | Supplies |  |  | Equipment |  |  |
| - MTSTM Anti-C (Monoclonal) Card - MTSTM Anti-c (Monoclonal) Card - MTSTM Anti-E (Monoclonal) Card - MTSTM Anti-e (Monoclonal) Card - MTSTM Monoclonal Control Card - MTSTM Diluent 2 PLUS - Panel cells, stored at 2-8° C. |  | - Glass test tubes – 12x75 - Pipette tips - Antigen Negative Stickers |  |  | - MTS BioHit Pipettor - MTS Incubator - MTS Centrifuge |  |  |
| Quality Control To confirm specificity and reactivity of antisera, reagents must be tested with appropriate controls each day of use. Testing of control cells must exhibit expected results for testing to be valid and reportable. - Negative control must be negative - Positive control must be positive - Patient/unit control must be negative Positive and negative controls are chosen from a Panel kit: - Negative control should be a red cell lacking the appropriate antigen. - Positive control should be a red cell which exhibits heterozygous expression of that antigen. E; e; C; c. +; +; Heterozygous; +; +. +; 0; Homozygous; +; 0. Cell # 5 is always heterozygous for C and c antigens. Cell # 6 is always heterozygous for E and e antigens.. - Patient/unit control using the Monoclonal Control Card ( to test for false positive reactions) **Unit Antigen Testing** - Check Blood and Blood Component Packing List for historical typing. If unit is available in bank, proceed to confirm antigen type (Historical typing is NOT acceptable as the type of record) - Once units are antigen typed as positive or negative, fill out white “Antigen Tested” label and place on corresponding units. - If unit is tagged from Hospital Services with an Antigen Negative tag, unit does not need to be retyped. - If historical typing is not available, choose and type units as required. If necessary, order antigen negative units from supplier, as detailed in Ordering Products from Supplier. Procedure Notes - Do not remove the foil seal until ready to use or within 1 hour of testing. - Inspect each gel card for a clear liquid layer on top of the opaque gel. - Do not touch the gel card during pipetting to prevent carryover leading to erroneous results. |
| Procedure: |  |  |  |  |  |  |  |
| Step | Action |  |  |  |  |  |  |
|  | Choose the appropriate gel card (C, c, E, or e) for testing being performed and a Monoclonal Control Card. Bring samples and reagents to room temperature. |  |  |  |  |  |  |
|  | Label 2-12 x 75 tubes and prepare a 4% suspension of heterozygous positive and negative control cells according to Cell Suspensions and Conversions procedure. |  |  |  |  |  |  |
| 3. | Label a 12 x 75 tube and using BioHit Pipettor program P7, make a 4% solution of the patient/unit red cells in MTSTM Diluent 2 PLUS. |  |  |  |  |  |  |
| 4. | Using the appropriate gel card, label microtubes with patient name and/or unit number, and positive and negative controls and remove the foil seal. |  |  |  |  |  |  |
| 5. | Using the Monoclonal Control Card, label one microtube with patient name and/or unit number. |  |  |  |  |  |  |
| 6. | Using BioHit Pipettor program P9: Pipette10 µL of the patient/unit cell suspension into the appropriately labeled microtubes on both cards. Pipette10 µL of the positive and negative control cells into the appropriately microtubes. |  |  |  |  |  |  |
| 7. | Centrifuge the cards for 10 minutes. |  |  |  |  |  |  |
| 8. | Read and grade reactions immediately following centrifugation. |  |  |  |  |  |  |

Interpretation Observe the front and back of each microtube for agglutination and/or hemolysis. Refer to Interpreting Reactions procedure. - Negative –No agglutination, no hemolysis, and complete sedimentation of all cells to the bottom of the microtube. - Positive - Red blood cells suspended on the top of the gel or dispersed throughout the gel in varying degrees, or hemolysis. Some positive reactions can have a small button of red blood cells remaining in the bottom of the microtube. If either side of the microtube is positive, the reaction is considered positive.

Result Reporting Refer to Antigen Testing Quick Guide to enter results of QC, patient, and unit testing in HBB.

Restrictions/Limitations - False positive or false negative results may occur from bacterial or chemical contamination of test materials, aged blood specimens, inadequate incubation time or temperature, improper centrifugation, improper storage of materials or omission of test samples. - Antibodies to preservatives, mediations, disease states, Wharton’s jelly, and/or cross contamination of reaction microtubes may cause false positive reactions. - Very weak expressions of the C, E, c, e antigen may not be detected. - Storage may result in weaker than normal reactions. - Determination of patient phenotype can be difficult if the patient has been transfused within the preceding three months

Safety Refer to Laboratory Procedure#4002-1: Infection Control and Laboratory Safety Hygiene Procedure and all safety policies of the laboratory

Related Documents/ Backup Procedure Antigen Testing Quick Guide Cell Suspensions and Conversions Interpreting Reactions Ordering Products from Supplier Resulting Testing from the Pending Worklog Rh Phenotyping – C,E,c,e Specimen Requirements, Labeling, and Storage

References MTSTM Anti-C, Anti-E, Anti-c, Anti-e (Monoclonal) Card Reference Document RMC Procedure: Rh Phenotyping – C,E,c,e

| Date: | Author: |  |  |  |  |  |  | Date: |  | Validated by: |  |  |  | Date: |  |  | Approved by: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 7/20/10 | Cheryl Webster, MLSCM(ASCP) |  |  |  |  |  |  | 12/1/10 |  | Jo Lohmann, MT(ASCP) |  |  |  |  |  |  |  |  |  |  |
| L: Blood Bank: C, E, c, e Typing – Gel Card |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  | Initials: |  |  | Revision and Reason |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Discontinued |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  | Reason: |  |  |  |  |  |  |  |  |  |  |  |  |  | Initials: |  |  |