| Ridgeview Medical Center Laboratory Services | Blood Bank | Effective Date: 7/02/08 |  |  |
| --- | --- | --- | --- | --- |
| Purpose The purpose of this procedure is to define the blood bank protocols for testing and transfusions. Testing Protocols Type and Screen ■ Group ■ Rh ■ Weak D, if indicated ■ Antibody Screen ■ Panel, if indicated ■ Crossmatch, if indicated Type and Crossmatch ■ Group ■ Rh ■ Weak D, if indicated ■ Antibody Screen ■ Panel, if indicated ■ Antigen type – patient, if necessary, and red blood cells ■ Crossmatch the number of units requested Cord Blood Work up ■ Group ■ Rh ■ Weak D, if indicated ■ Direct Coombs Rh Immune Globulin Work up ■ Group ■ Rh ■ Weak D ■ Fetal Maternal Bleed Screen – required for post partum injections ■ Antibody Screen – required, except for post partum injections Transfusion Protocols Massive Transfusions ■ Immediate spin crossmatch for antibody negative recipients once 10 units are transfused in a 24 hour Period Emergency Transfusions ■ Administer type-specific blood, if time allows ■ Administer O Negative packed cells if there is no time to type the patient ■ Finish the crossmatch as soon as possible Infant Transfusions (less than 4 months) ■ Freshest O Negative packed cell ■ Crossmatch with maternal serum – source of highest antibody titer ■ Crossmatch with maternal serum and baby’s serum if plasma-containing components have been administered ■ CMV negative components maybe indicated – low birth weight infant |  |  |  |  |

| Date: |  | Author: |  |  |  |  |  | Date: |  | Validated by: |  |  |  | Date: |  |  | Approved by: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 7/2/2008 |  | Jo Lohmann, MT(ASCP) |  |  |  |  |  | 7/2/2008 |  | Mary Farlow, MT, (ASCP) |  |  |  | 7/27/2008 |  |  | Dr. T. Hallin, MD |  |  |  |
| Blood Bank Protocols |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: | Initials: |  |  |  | Revision and Reason |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Discontinued |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  | Reason: |  |  |  |  |  |  |  |  |  |  |  |  |  | Initials: |  |  |