| Ridgeview Medical Center Laboratory Services |  | Blood Bank |  | Effective Date: 9/26/08 |
| --- | --- | --- | --- | --- |
| Purpose This procedure provides directions for the generation of patient orders, recording of patient specimens, recording of results, and issuing of components during the following scenarios: - Horizon Lab to Horizon Blood Bank interface is down - Horizon Lab system is down - Computer system is not in use - Horizon Blood Bank is down Horizon Blood Bank Down Time/Problem Notification When Horizon Blood Bank System is not operational, complete the Horizon Blood Bank Unscheduled Downtime Log found on the clip board and place a call to the support team for assistance. When there is a problem or error situation with the Horizon Blood Bank System but it still is operational, complete the Horizon Blood Bank Error Identification Log found on the clip board and place a call to the support team for assistance. 1(800) 800-1844, press 5 and then 2 ----- RMC facility identification number is 1003949 |  |  |  |  |
| If Horizon Lab to Horizon Blood Bank interface is down or Horizon Lab System is down  Recording Specimen and Generating Orders |  |  |  |  |
| Step | Prompt |  | . Action |  |
|  | Patient/Order Module |  |  |  |
| 1. | File Open  Patient |  |  |  |
| 2. | MR # |  | Enter numberQuery |  |
| 3. | “No Possible Matches Found” |  | OK |  |
| 4. | NEW (or select patient if in the database) |  |  |  |
| 5. | New Patient Profile displays - Last name, first name - Gender - Birthdate - Admission date - Visit Type (Inpt, Outpt) - Service Provider= RMC - Patient’s Medical Record Number - Admitting Physician - Visit ID # = Acct. # - Patient Location=RMC |  | Enter information in appropriate field |  |
| 6. | OK |  | Click |  |
|  | Patient Profile opens |  |  |  |
| 7. | Patient Record Specimen |  | Click |  |
| 8. | If there is an Accession # on the specimen |  | Scan barcode on tube |  |
| 9. | If there is no Accession # on the specimen |  | Click GENERATE button (record this accession # on the specimen) |  |
| 10. | Phleb initials date, time |  | Enter information |  |
| 11. | OK |  | Click |  |
| 12. | File  New  Order  Regular |  |  |  |
| 13. | Priority field |  | Enter priorityOK |  |
| 14. | Time field |  | Enter time specimen was drawn |  |
| 15. | Type field |  | Enter “T” |  |
| 16. | Item ID field |  | Enter tests as ordered (or scroll and select) |  |
| 17. | SAVE and close |  |  |  |

Result Reporting

- If Horizon Lab is functioning  Result testing according to Resulting Testing from the Pending Worklog Procedure. Results will cross from HBB to Horizon Lab.

- If Horizon Lab is not functioning  report test results using the manual Blood Bank Report Form.  Fax report, call, and document.

If Horizon Blood Bank is down

Downtime Snapshot must be accessed for patient information

| Step | Prompt | Action |
| --- | --- | --- |
|  | Lead Tech’s computer only |  |
| 1. | Shortcut to Downtime icon | Double click |
|  | Open Downtime File window opens |  |
| 2. | File Name | Type \\Rmchbbdb01\BloodBank\Downtime\DOWNTIME_SNAPSHOT.MDB |
| 3. | FIND | Click |
|  | Find Downtime Access Database window opens |  |
| 4. | Highlight Downtime Snapshot | Open OK |
|  | Database Login window opens |  |
| 5. | User name | Enter “ebis” |
| 6. | Password | Enter “debis” |
| 7. | OK |  |
|  | Locate Patient window |  |
| 8. | Enter MR# or Name | Query |
| 9. | PRINT or Print Preview to view | Select  Patient information will print |
| 10. | To query another patient | CLEAR  repeat steps 8 and 9 for next patient |
| 11. | Close | Click |

All patient and Quality Control testing, and inventory functions, if necessary, must be recorded on Manual Worksheets as follows:

| Step | Action |
| --- | --- |
| 1. | Record patient testing results on Manual Worksheet-Patients as work is performed. Record results to be released to patient’s chart on the Blood Bank Report Form. Fax report, call, and document. |
| 2. | Record Quality Control results on Manual Worksheet-QC Testing. |
| 3. | If necessary, record inventory received and confirmatory testing performed on Manual Worksheet-Inventory. |

If Horizon Blood Bank is down or units are issued manually

| Issuing Components Blood Bank tech and individual picking up the blood proceed as follows: Step; Action. 1.; The component and unit tag are retrieved and transfusion criteria is recorded on tag from the pink slip.. 2.; When issuing red cells, the blood bank tech removes 2-3 segments from the unit and places a sticker around the segments, which are stored in the daily bins in the Bacti refrigerator.. 3.; A unit number sticker with a barcode is placed on the pink request slip for most components issued. If a sticker is not available, record the unit number, including the check digit, on the request slip.. 4.; *Using a Manual Issue Sheet, enter and confirm the following - Date - Time - Patient Name - MR# off the pink slip - MR# off the unit tag - MR# off unit sticker - Standard Product Code - Unit Number off the unit label, including the check digit for ISBT products - Unit Number off the unit tag - Unit Type off the unit label - Unit Type off the unit sticker - Patient Type from the tag - Visual check and outdate confirmation - Signature of the person picking up the unit - Tech Initials. 5.; Stamp the time on both copies of the unit tag and the back of the pink slip.. 6.; Place unit in biohazard bag for transport to nursing station. Send tag with the unit.. 7.; Place pink slip in drawer.. Safety Refer to Laboratory Procedure #4002-1: Infection Control and Laboratory Safety Hygiene Procedure |
| --- |
| Related Documents Blood Bank Report Form Issuing Products in Horizon Blood Bank Manual Issue Sheet Manual Worksheet-Inventory Manual Worksheet-Patients Manual Worksheet-QC Testing Pink Pick Up Slip Resulting Testing from the Pending Worklog Specimen Handling in Horizon Blood Bank References Procedure # 8255: Blood Bank Slip, Signing Out Blood, Transfusion Records Standards for Blood Banks and Transfusion Services, 25th Edition, 2008, pages 8-9. AABB Technical Manual, 15th Edition, 2005, pages 13-14, 18-19. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  | Author: |  |  |  |  | Date: |  |  | Validated by: |  |  |  | Date: |  | Approved by: |  |  |
| 3/21/08 |  | Cheryl Webster, MT(ASCP) Jo Lohmann, MT(ASCP) |  |  |  |  | 6/17/08 |  | Jo Lohmann, MT(ASCP) |  |  |  |  | 6/18/08 |  | Dr. T. Hallin |  |  |
| L: Blood Bank: Computer Downtime Procedure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: | Initials: |  |  | Revision and Reason |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Discontinued |  |  |
| --- | --- | --- |
| Date: | Reason: | Initials: |