| Ridgeview Medical Center Laboratory Services | Blood Bank | Effective Date: 7/21/2009 |
| --- | --- | --- |

Purpose

This procedure provides instructions for resulting crossmatches performed by Memorial Blood Centers.

Specimen

The specimen of choice is EDTA anticoagulated whole blood sent to Memorial Blood Centers.

See Reference Consultation Services-Memorial Blood Centers procedure.

Procedure

| Step | Prompt |  |  |  |  |  |  |  |  |  |  |  | Action |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Order and perform a RECORD check and RECKG. See Resulting Testing from the Pending Worklog |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Units crossmatched at MBC will have a yellow tag attached with patient name and crossmatch result. Perform the following steps to enter MBC crossmatch into HBB. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. | PW √ Inc. WorkQuery (Red?) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. | Select RBC for the patient you are crossmatching |  |  |  |  |  |  |  |  |  |  |  | Click on PS |  |  |  |  |  |  |  |  |  |
| 4. | With the cursor in the barcode field |  |  |  |  |  |  |  |  |  |  |  | Scan unit number and the product code from the appropriate tagged unit |  |  |  |  |  |  |  |  |  |
| 5. |  |  |  |  |  |  |  |  |  |  |  |  | Click Accept |  |  |  |  |  |  |  |  |  |
| 6. | Repeat Step 4 & 5 for the number of units ordered and crossmatched at MBC |  |  |  |  |  |  |  |  |  |  |  | Click OK |  |  |  |  |  |  |  |  |  |
| 7. | From the PW  select XM for the patient you are crossmatching |  |  |  |  |  |  |  |  |  |  |  | Click on RE (Result Entry) |  |  |  |  |  |  |  |  |  |
| 8. | Result Entry window |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. | Specimen ID field |  |  |  |  |  |  |  |  |  |  |  | Scan accession number on patient specimen |  |  |  |  |  |  |  |  |  |
| 10. | Click on binocularsgo to XMMBC |  |  |  |  |  |  |  |  |  |  |  | OK |  |  |  |  |  |  |  |  |  |
| 11. | Result field |  |  |  |  |  |  |  |  |  |  |  | Enter “0” |  |  |  |  |  |  |  |  |  |
| 12. | Interpretation field |  |  |  |  |  |  |  |  |  |  |  | Enter COMP |  |  |  |  |  |  |  |  |  |
| 13. | Repeat Steps 11 and 12 for additional units |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14. | Save |  |  |  |  |  |  |  |  |  |  |  | Click and close window |  |  |  |  |  |  |  |  |  |
| 15. | Unit tags print. |  |  |  |  |  |  |  |  |  |  |  | Place stickers from tags on units, attach tags to units and return to Blood Bank. |  |  |  |  |  |  |  |  |  |
| Limitations The pretransfusion sample used for testing must be no more than three days old at the time of the intended transfusion if the patient has been pregnant or transfused within the previous three months, or if the pregnancy history and transfusion history are uncertain. The day of the collections is counted as day zero. Safety Refer to Laboratory Procedure #4002-1: Infection Control and Laboratory Safety Hygiene Procedure and all safety policies of the laboratory. References Horizon Blood Bank Quick Reference Cards Related Documents Resulting Testing from the Pending Worklog Reference Consultation Services-Memorial Blood Centers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  | Author: |  |  |  |  |  | Date: |  | Validated by: |  |  |  |  | Date: |  |  | Approved by: |  |  |  |
| 7/21/09 |  |  | Cheryl Webster, MT(ASCP) Jo Lohmann, MT(ASCP) |  |  |  |  |  | 7/21/09 |  | Cheryl Webster,MT(ASCP) |  |  |  |  | 7/09 |  |  | T. Hallin, MD |  |  |  |
| L: Blood Bank: Crossmatch-Memorial Blood Centers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  | Initials: |  |  |  | Revision and Reason |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Discontinued |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  | Reason: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Initials: |  |  |