| Ridgeview Medical Center Laboratory Services |  | Blood Bank |  | Effective Date: 12/2008 |  |
| --- | --- | --- | --- | --- | --- |
| Purpose The purpose of this procedure is to provide instruction for the stopping and starting of interfaces to clear the queues and prevent the interface from stopping transmission of demographics, orders, and results. This should be done weekly. |  |  |  |  |  |
| Procedure |  |  |  |  |  |
| Step | Action |  |  |  |  |
| 1. | Accessories Communications Remote Desktop Connection |  |  |  |  |
| 2. | Computer: vhbbHL7 |  |  |  |  |
| 3. | User: HBB Password: P@$$w0rd |  |  |  |  |
| 4. | HL7 Manager icon double click |  |  |  |  |
| 5. | Select the OK button. The HL7 manager main window displays |  |  |  |  |
| 6. | User: HL7 Password: interfac |  |  |  |  |
| 7. | First, stop the interfaces Hospital services  select Stop Result services  select Stop Billing services  select Stop |  |  |  |  |
| 8. | Close the HL7 Manager |  |  |  |  |
| 9. | Open the HL7 Manager using the ID and password in #6 above |  |  |  |  |
| 10. | Then, start the interfaces Hospital services  select Start Result services  select Start Billing services select Start |  |  |  |  |
| 11. | The services will be started with current date and time displayed. Close HL7. |  |  |  |  |
| 12. | Double click Shortcut to Set Recovery icon |  |  |  |  |
| 13. | vhbbhl7 close on top of screen |  |  |  |  |

Date: Author:; Date:; Validated by:; Date:; Approved by:. 12/18/08; Jean Robbins; 7/25/12; Cheryl Webster, MLS ASCPcm. Lead folder/Blood Bank/HL7 Manager Starting and Stopping Interface Services. Annual Review. Date:. Initials:. Date:; Initials:; Revision and Reason. 7/25/12; CW; Virtual server.

| Discontinued |  |  |
| --- | --- | --- |
| Date: | Reason: | Initials: |