| Ridgeview Medical Center Laboratory Services | Blood Bank | Effective Date: 9/26/08 |  |
| --- | --- | --- | --- |
| Purpose This procedure provides instructions for the issuing of blood products using Horizon Blood Bank. Procedure Notes - An RN, LPN, HUC or any designated individual may pick up blood products, providing they bring a pink request slip with patient’s name, medical record number, and transfusion criteria indicated.. Restrictions - If any identifier does not match, the unit is not issued until the problem is resolved. - Blood products may be signed out for only one patient at a time. - In the case of acute blood loss, more than one unit may be signed out at the same time for the same patient. - Components must meet visual inspection criteria as defined by the Visual Inspection Reference Guide at the end of this procedure. If an abnormality is found, the component is not issued unless authorized by the Medical Director. |  |  |  |
| Procedure Blood Bank tech and individual picking up the component proceed as follows: Step; Action. 1.; The component and unit tag labeled with Recipient Information are retrieved from the blood bank.. 2.; Record the transfusion criteria from the pink slip on the unit tag.. 3.; When issuing red blood cells, the Blood Bank tech removes 2-3 segments from the unit and places a unit sticker around the segments, which are stored in the appropriate bin in the Bacti refrigerator, where they are held for 2 weeks.. 4.; Place a barcoded unit number sticker on the pink request slip. If a sticker is not available, record the unit number on the request slip, including the Check Sum digit on ISBT labeling.. Computer Steps. Step; Prompt; Action. 1.; Patient/Order module. 2.; PRODUCT (on tool bar)  Issue. 3.; MR# field; Enter MR#  Query. 4.; OK; Click. 5.; **Record Patient ID number on pink pickup slip**. Product Issue window. 6.; Place cursor in barcode window; Scan unit # and Standard Product Code barcodes Pooled cryo and divided units require manual entry at issue.. 7.; Blood Bank tech states the following, with the individual picking up the component confirming the information being read: Patient’s full name and MR# (or ID band#) on  - Pink slip - Unit tag - Unit sticker - Computer Screen Unit # on  - Unit label - Unit tag - Computer screen Unit type on  - Unit label - Unit tag - Unit sticker - Computer Screen Patient blood type on  - Computer screen - Unit tag Unit outdate  - Unit label - Computer Screen Visual Inspection of unit - Out date - Color - Appearance – hemolysis, aggregates, fibrin strands, clots, flocculent matter, bacterial contamination Special transfusion requirements ▪ Special needs of the patient – irradiated, Anti-CMV negative, warmer required ▪ Antibody/antibodies the patient may have, unit is antigen negative if applicable Crossmatch test interpretation ▪ Compatible interpretation if crossmatch performed. 8.; Visual Inspection box; Click to check box. 9.; ACCEPT; Click. Do you need to issue a recipient set? If NO, go to Step 10. If YES, go to Step 13.. 10.; Issue Location field; Enter RMC, tab to Issue to field. 11.; Issue to field; Individual picking up unit enters their first initial, last name, and title. 12.; OK; Click. Proceed to Step 19.. 13.; Accessory tab; Click. Accessory to Issue window. 14.; Accessory ID; Choose Platelet-Leuko Filter. 15.; Lot Number; Enter number. 16.; Manufacturer; Enter “Baxter”. 17.; Quantity; Enter”1”. 18.; OK; Click. Proceed to Step 10-12. 19.; Stamp the time on both copies of the unit tag and the pink slip.. 20.; Place unit in a biohazard bag for transport to nursing station. Send tag with unit.. 21.; Place pink slip in drawer.. |

| Limitations |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| If units are issued manually, due to computer downtime, or for some other reason, refer to Computer Downtime Procedure and appropriate forms. Safety Refer to Laboratory Procedure #4002-1: Infection Control and Laboratory Safety Hygiene Procedure and all other safety policies of the laboratory. Related Documents Computer Downtime Procedure Platelets – Random Donor Units Platelets – Apheresis Cryoprecipitated AHF Dividing Units Leukoreduced Red Blood Cells Fresh Frozen Plasma, Frozen Plasma Pink Pickup Slip Visual Inspection Reference Guides |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| References Issuing Blood Products, Horizon Blood Bank Quick Reference Guide. Standards for Blood Banks and Transfusion Services, 23rd Edition, 2005, pages 44-45. AABB Technical Manual. 15th Edition, 2005, pages 194-199. Visual Inspection Reference Guide, American Red Cross, 2006. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  | Author: |  |  |  |  |  | Date: |  | Validated by: |  |  |  | Date: |  |  | Approved by: |  |  |  |
| 2/2/07 |  | Cheryl Webster, MT(ASCP) Jo Lohmann, MT(ASCP) |  |  |  |  |  | 4/10/08 |  | Cheryl Webster, MT(ASCP) |  |  |  | 6/20/2008 |  |  | Dr. T. Hallin |  |  |  |
| Issuing Products in HBB |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual Review |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: | Initials: |  |  |  | Revision and Reason |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Discontinued |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  | Reason: |  |  |  |  |  |  |  |  |  |  |  |  |  | Initials: |  |  |