2013 Glucometer Competency Test

Name______________________________  Date_____________

- The action range for glucometers at SCRMC is:

  - 40-400

  - 27-400

  - 52-500

  - 36-300

- If a result is outside the action range, you:

  - give insulin according to orders

  - call lab to come and do a venous blood sugar

  - give the patient lunch

  - do nothing

- If the quality control on the glucometer fails, you:

  - verify the correct level of control was used

  - check the outdate on the control bottle

  - run patients anyway

  - both a and b

- A bottle of control solution is open today, it expires:

  - 7 days from today

  - 90 days or the expiration date on the bottle, whichever is first

  - the expiration date on the bottle

  - 90 days from today, regardless of the expiration date on the bottle

- How often is QC run on the glucose meters?

  - every shift

  - every 24 hours

  - once a week

  - with every patient tested

- When do you clean the glucose meter?

  - after every patient tested

  - once a day

  - once a shift

  - once a month

- If you use “999999” as the sample number for a stat test, you should call the lab with the patient information and result

  - True

  - False

- When doing glucometers you do not need to worry about which barcode you scan.

  - True

  - False

- To correctly identify you patient, patient identifiers need to be checked:

  - with the first test for that patient at the start of your shift

  - every time you do a glucometer on that  patient

  - only if the patient is unable to communicate

  - only if you’ve never taken care of the patient before

- You must do competency annually or your operator ID will not be accepted by     the glucometer.

  - True

  - False