**Weekly Updates**

**March 7, 2013**

|  |  |  |
| --- | --- | --- |
| Test | Description of Change(s) | Affected Individuals |
| UA procedure | Updated UA procedure – added section titled specimen stability. See page 2. | All Staff/Bench Techs |
| Change of Lots | The KOH lot was switched on March 1. Next time, please notify Sherry or Denelle so that changes may be made as necessary in a timely fashion. – In this case, the test log was updated to reflect the new lot number and expiration date. | All Techs |
| QC in Cerner | QC is now entered directly into Cerner for **microalbumins** and **Hgb by Hemocue**. See the procedure attached below. The directions have also been placed on the back of the patient test log clipboards – see pink flag. | Bench Techs |
|  |  |  |

**Procedure Additions, Updates and Changes:**

* [**Urinalysis**](file:///%5C%5Cyonkers%5Cpchcteam%5CLab%5CProcedure%20Manual%5CTest%20Procedures%5CUrinalysis.doc)
* [**Entering QC Results in Cerner**](file:///%5C%5Cyonkers%5Cpchcteam%5CLab%5CProcedures%2C%20Current%5CCerner%20Protocols%5CEntering%20QC%20Results%20into%20Cerner.docx)