#### Blind Testing for ACE Alera

Run these tests on the ACE Alera as you would a patient.  (Use an ID and/or accession number that would never belong to an actual patient.)  Attach your result print out to this sheet and turn in to Sherry.  Acceptable results will be within the range provided by AAFP.

- Glu

- K

- Alb

Use the AAFP proficiency testing material.  They are stored in refrigerator #2 in a basket on the top shelf.  Let material come to room temperature and then gently swirl prior to testing.  The number corresponds to the bottle that you will you use for testing.

| Tech Name | Assigned Specimen |
| --- | --- |
| Hamsa Aden | Ch6 |
| Leah Atkins | Ch7 |
| Hilina Berhe | Ch8 |
| Sherry Cooper | Ch9 |
| Denelle Hygrell | Ch10 |
| Deb Jaakola | Ch6 |
| Sue Seim | Ch7 |
| Becky Spaulding | Ch8 |