Weekly Updates

August 1, 2016

|  |  |  |
| --- | --- | --- |
| Test | Description of Changes | Affected Individuals |
| Shutdown Phrazers | On Saturdays, please Shutdown the Phrazers all the way. This is similar to a computer restart. It will help to prevent ‘glitchy’ activity from occurring. | All Staff |
| Green lights on Phrazers | If there are green lights on the Phrazers, a patient has completed the FIT protocol and you need to review the results. If you don’t, the green lights will stay lit ALL NIGHT LONG. | All Staff |
| Millipore Data | There is a new daily maintenance form to be filled out for Millipore.   1. Let Millipore run, by opening valve by paper towel dispenser. Run until hour glass shows on display. 2. Shut valve. 3. Hold one of the arrows until D1 shows – several seconds. 4. Press ✓ button to see value for D1. Record. 5. Press ✓ button and then forward arrow for next value. 6. Press ✓ button to go into each screen and to exit. 7. Press top button, looks like a list to exit back to main screen. | Opening Bench Techs |
| Lab Meeting | There is a lab meeting on Tuesday 8/9/16 from 12:15-1:30 in Classroom B. We are ordering potato bar with cheesy broccoli sauce. | All Staff |

**Procedure Additions, Updates and Changes:**