|  | LABORATORY DEPARTMENT POLICY AND PROCEDURES | Department: General Lab |
| --- | --- | --- |
|  |  | Number: 42.0-Genl-gu-rev4/2013 |

CERNER-PATHNET CHANGE DOCUMENTATION

- POLICY

- Modifications to Cerner Pathnet modules are documented on the Pathnet Change Log.

- The Pathnet Change Log is stored on the “S” Drive under Interdept/NAHLabs/Pathnet Change Log.

- Change documentation includes:

  - Date the change was made

  - The Cerner application

  - Involved DTA/Orderable(s)

  - The domain the change was made in.

  - The Cerner ID of the person making the modification.

  - A brief description of the change made

  - Any accession #’s involved in testing (if applicable).

  - Verification of patient results are tested from the point of data entry (interfaced instruments and Manual input) to patient reports – (whether paper or electronic) when a new interface is installed.

- All changes made to maintain Cerner-Pathnet are reviewed by the Laboratory Medical Director or designee (LIS Coordinator).

- Changes, additions, deletions in programs, the test library, and major computer function are approved by the Medical Director or designee (LIS Coordinator) prior to modification or release.

- Testing documentation for changes made in Cerner Blood Bank will also be reviewed by the Laboratory Medical Director.

REFERENCES:

- College of American Pathologists (CAP) General Checklist, GEN.43066 (9/25/2012) 2006).

- College of American Pathologists (CAP) General Checklist, GEN.48500 (9/25/2012)

| Prepared by/Title/Date: Angela Schoch, MT(ASCP) 10/16/07 Approved by/Title/Date: Signature on File in Lab |  | Dates Reviewed/Revised: 10/07 4/2013 10/08 |
| --- | --- | --- |