|  | LABORATORY DEPARTMENT POLICIES AND PROCEDURES | Department: GENERAL |
| --- | --- | --- |
|  |  | Number: 50.0-Genl-gu-rev3/2013 |

BODY FLUID TRACKING PROCEDURE

- POLICY:

- Body fluids require special handling due to the fact that they are shared between multiple departments and often are not replaceable.  The most common sources seen at VVMC include Bronchial Washings, Cerebral Spinal Fluid (CSF), Paracentesis / Peritonesal / Ascites, Thoracentesis / Pleural Fluid.

- PROCEDURE:

- Lab assistants

- When a body fluid is received in the lab, the specimen container must be labeled with:

- Name of patient, Medical Record Number (or Date of birth)

- Type of Specimen

- Date and time of collection

- Note:  If this information is missing, you must notify the ordering Physician.

- Initiate a “Fluid Flow Sheet.” Only body fluids that need to be shared between departments need to have the Fluid Flow sheet filled out.

- Fill out the demographic information at the top of the form (a label can be used for patient information).

- Check in the Order Result Viewer (Blue Man) to see if there is a cytology ordered. The cytology label does NOT automatically print, so you must check.

- Attach a completed Pathology requisition if cytology is ordered.

- Fill out demographic area of form including:

- Name, Medical Record Number (MRN),

- date,

- type of specimen

- physician

- IP (Inpatient) vs OP (Outpatient or Draw Station) vs NP (non-patient or drop off specimens),

- Diagnosis, if available.

- Additional Stains requested (Hansel,Pneumocystis,Fungus)

- Deliver specimen(s) immediately to Hematology (or Microbiology if only Micro and Cytology ordered).

- If  Cytology is ordered:

- The optimal specimen for Cytology volumes are:

- Pleural or ascites fluid should be approximately 500 ml. with a thick fibrin clot( if present)

- CSF – any available, preferable 2 ml.

- C.	Other body Fluids – Any Available

- 8.	A completed Pathology requisition must accompany the specimen.

- 9.	Place specimen with appropriate paperwork in the “Pathology” drawer in the specimen refrigerator, if no Microbiology is ordered.

- 10.	Follow-up and make sure missing information is received within 5 – 10 minutes or contact a Lead Technologist.

- Departments: Hematology or Microbiology (if Microbiology/Cytology ordered)

- 11. 	Immediately evaluate, distribute specimens and make sure all paperwork is received and specimen is handled in a timely manner.

    - Follow department specific instructions for handling and testing specimens.

  - Results from more than one area of the Laboratory should be compared to the other departments for correlation and signed off on the fluid flow sheet.

  - Complete flow sheet and forward it with the specimen(s) to the next department.

- Specimen Handling Notes:

  - CSF: If not indicated: Tube 1 = Chemistry/Serology; Tube 2 = Microbiology; Tube 3 = Hematology (cell count)/Cytology; Tube 4 = Hold.

  - Specimens in bottles: Mix well and aliquot in to properly labeled:  EDTA for Hematology; 3 sterile Falcon Tubes for Chemistry, Microbiology and Cytology.

- Send Outs

- Check to be sure that serum is available if needed (e.g. Oligoclonal bands for CSF).

- 14.	Do not discard original specimen / specimen container as it may need to be referenced for additional specimen or specimen labeling issues.

- 15.	Specimen Storage:

- Specimens without cytology orders are stored in Microbiology.

- Specimens with cytology are stored in Histology.

- Paperwork:

- When work is completed, file the completed Fluid Flow Sheet in the front office file drawer labeled “Fluids.”

REFERENCES:

- College of American Pathologists (CAP) Laboratory General Checklist, (9/25/2012).

- Clinical Laboratory Improvement Act of 1988 (CLIA ’88) Standards.

- Kjeldsberg, C.R., Knight, J.A. Body Fluids: A Textbook Atlas. Chicago: ASCP Press.

ATTACHMENTS:

1.	Fluid Flow Sheet

| Prepared by/Title/Date: Linda Gadway, 12/2005 Approved by/Title/Date: Signature on File in Lab | Committee Approval/Date: Policy & Procedure ______ | Dates Reviewed/Revised: 2/2007 4/09 3/2013 |
| --- | --- | --- |