|  | LABORATORY DEPARTMENT POLICIES AND PROCEDURES | Department: CHEMISTRY |
| --- | --- | --- |
|  |  | Number: 308.0-Chem-gu-rev07/13 |

CHEMISTRY ANALYZER MAINTENANCE

- POLICY

- Maintenance is scheduled to be performed routinely on all Chemistry analyzers to keep them running properly and decrease down-time.

- Maintenance is performed as recommended by the manufacturer of each piece of equipment.

- The following analyzers have manufacturer service contracts for preventive maintenance:

  - Cobas 6000 X2 (C1 and C2)

      - Each consisting of a c501 module and a e601 module.

- Required routine maintenance to be performed by VVMC is listed on worksheets for each corresponding Chemistry analyzer.

- PROCEDURE

- Follow maintenance procedures as listed in each analyzer’s corresponding manual.

- See maintenance checklists for each analyzer.

- For Emergency Shutdown Procedure, follow the ordinary maintenance shutdown procedure found in the COBAS 6000 Analyzer Operator’s Manual, Sec C Maintenance, page C-41, Instrument Status.

- Roche semi-annual PM consists of a pipette check test. Obtain a copy of the test check from Roche FSR for chemistry records.

REFERENCES

- College of American Pathologists (CAP), Chemistry and Toxicology Checklist (Rev03/2005).

- Clinical Laboratory Improvement Act of 1988 (CLIA ’88) Standards.

| Prepared by/Title/Date: Angela Schoch, MT 11/29/2005 Approved by/Title/Date: Signature on file in Lab | Committee Approval/Date: Policy & Procedure ______ | Dates Reviewed/Revised: 11/05 11/07 4/13 RL 7/13 RL |
| --- | --- | --- |