**Orderables:**

* UA w/o Rflx – Reports urine chemistry side of the IRIS. Will never reflex to UA Micro or Urine Culture.
* UA w/ Rflx to Micro – Reports urine chemistry side of the IRIS. Can reflex to reporting the microscopy side of the IRIS (UA Micro). Will never reflex to Urine Culture.
* UA w/ Rflx to Micro/Culture – Reports urine chemistry side of the IRIS. Can reflex to reporting the microscopy side of the IRIS (UA Micro). Can reflex to Urine Culture.
* UA Micro – Reflex only test. Cannot be ordered by providers. Used to report out results from the microscopy side of the IRIS.
* Urine Culture – Can be ordered separately or reflexed.

**Reflexing Criteria:**

UA Micro – Rule triggers when UA Luek Est is performed, verified, or auto-verified.

1. UA Blood is flagged as Abnormal

2. UA Protein is flagged as Abnormal

3. UA Leuk Est is flagged as Abnormal

4. UA Nitrite is flagged as Abnormal

Urine Culture - Rule triggers when UA WBC is verified or auto-verified.

1. UA Bacteria = Moderate or Many & UA Epithelial <= 5

2. UA Leuk Est is flagged as Abnormal

3. UA Nitrite is flagged as Abnormal

4. UA WBC > 5 & Patient is Male

5. UA WBC > 10 & UA Epithelial <= 5 & Patient is Female