## Slide 1: Placing a Hold on a Test
When to Perform?
Any time a result is not ready to be released, such as when performing a slide review/diff, a dilution, or troubleshooting erroneous results.

## Slide 2
Select the desired result (make sure this is the only result selected) and select the three dots in the right hand corner.

## Slide 3
Select “Holds”

## Slide 4
Always use “other” as the reason for the hold and elaborate in the comments.

## Slide 5
The comment box for your elaboration will not appear until after “other” has been selected.

## Slide 6
Similar to holds placed on criticals, this hold must be addressed before resulting. This can be satisfied by acknowledging the hold once a differential has been done such as shown below, or the hold can be removed.

## Slide 7
Select “clear”

## Slide 8
Select “Supervisor approved result release”

## Slide 9
Enter the action taken to resolve the reason for the hold and accept to clear the hold.
Specimens may be released per usual from this point.