PURPOSE

The Culture if Indicated (CII) list is printed by the evening shift HLAs  prior to closing the lab.  It lists all urine specimens ordered for this procedure with the UA and culture accession numbers.  The list is reviewed by the urine bench CLS to insure that specimens with urinalysis results indicating an infection are processed for culture in the Microbiology lab. The following guidelines are provided to insure that the list is properly reviewed and problems are investigated.

- The CII list is to be reviewed before starting the Day 1 urines.

- All “Culture Indicated” urinalysis results should have a urine culture ordered

The culture number should be next to the UA specimen number. If no culture number, look for a UTT. If found, order culture and write accession number on the CII list. If NOT found, write “RACKS 0. Print a copy of the UA report and give to a supervisor. No further action is required.

- All “Culture Not Indicated” urinalysis results should NOT have a urine culture ordered. If there is a culture number next to the UA specimen number, cancel as “Requisitioned in error” (CAN30) and add “MCNI” below that line.

- All “PENDING” UA results should be checked.  They may be final by now OR there may be specimen problems.  If still no result, and the specimen was not already plated with the UA labels, look for a UTT. If no UTT found, write “RACKS 0” on the CII list. Print a copy of the UA report and give to a supervisor. No further action is required.

- All “PENDING-CANCELED” UA results should be checked.

No further action is required IF canceled reason is:

  - Patient was unable to void – write “UTV” on CII list.

  - Duplicate specimen – write “”DUP” on CII list.

  - INFCE ORDERS (by EMR interface), write “INT” on CII list.

- If you must look for a UTT, check BOTH specimen racks from the previous

day, checking the CNI racks first. Also check the bagged specimens arriving

in the morning from Chemistry.

- Plates with UA labels should be put in rack if UA result is “Culture not indicated”.

- It is the CLS responsibility to check for missing UTTs. You can ask an HLA if they have time to do it for you. Notations “not rec’d” by the evening HLA who printed the list is not sufficient.

- Initial and date top of CII list when completed.

PROCEDURE HISTORY

| Date | Written/Issued By | Revision/ Annual Review | Approved Date | Approved By |
| --- | --- | --- | --- | --- |
| 6/2011 | L.Lenhart | New | 6/2011 | C. R. Polage |
| 4/2012 | L.Lenhart | Revised | 4/12 | C. R. Polage |
| 1/2013 | L,Lenhart | Revised |  |  |