QC Review

In an effort to increase our quality of work, I have added a *QC Review* page to the LH780 binders. It is in the Corrective Action section.

Each month will have a sheet. Each shift will document the QC graph review for the 5C and Retic controls they have run. Please write the evaluation in the box provided and initial.

Look for shifts and trends in controls. Shifts of more than 1 SD are particularly important to note. You must review the entire CBC result, each parameter has its own Levy Jennings graph.

Examples include:  *5C ok*

*Retic ok* or

*abII rbc*

*Retic ok*