Purpose

The pathologist or designee reviews all CSF, Body Fluid and Synovial Fluid smears, initial findings for all peripheral blood results that meet the criteria specified in Table 1, and all hematology or hemostasis results that require clinical correlation.

Procedure

# Saving Slides

## Submit peripheral blood and body fluid smears that meet the criteria specified in Table 1 for Hematopathology Review.

## Peripheral smears meeting the criteria are submitted on initial findings only.  It is not necessary or desirable to review slides repeatedly for similar results.  This can be determined by reviewing previous results, history or pathologist’s comments.  Place the letter P in the F/S field for specimens with previously reviewed results.

## All CSF, Body Fluid and Synovial Fluid smears are submitted for review.

## Synovial Fluid Crystals only are not submitted for review but are given to Specialist for review.

## Place saved slides in a numbered slide box, one box for each day of the month.  Record this position in the F/S field in the LIS report.

## The reviewer will select specific slides and send them to the pathologist for review.

## Following Pathology Review, the slides and boxes will be returned to Hematology for cleaning and filing.

# Pathology Review Reports

## The CLS identifying need for review of any peripheral blood or hemostasis results will flag the report for Pathology Review by placing a "\E" adjacent to any reported parameter or the F/S test space after the slide number.  It is not necessary to do this for fluid results as all are reviewed.

## The CLS will indicate the location of the slide by noting the slide position in the path review box for the day in the F/S test space in the LIS.

## In instances where 1% or less (occasional, rare or "seen on scan") immature mononuclear cells, blasts or “Others” are noted on a report, the technologist will determine the cell’s position using a cell finder and note the coordinates under "Comments" on the report, preceding the comment with an @ symbol prevent it from printing on external reports.

## Print each specimen result to be reviewed.

### Body Fluids (all types)

#### Access Worksheets

##### Create Worksheet PRFL (Path Review Fluid)

##### Press Enter to default through all fields.

##### At the “create” prompt, select Y (yes), but do not print.

#### Process Worksheet

##### Worksheet is PRFL.

##### Type Date and Worksheet Number desired.

##### Press Enter to display worksheet.

##### Edit worksheet if necessary, using standard worksheet functions.

##### In worksheet functions print the spreadsheet using function “SSP” in the worksheet function.

##### In worksheet functions print the worksheet with results by selecting “WP”.  This will print each specimen on a separate sheet with all the associated results and no NP results.

### Peripheral Smears

#### Access Custom Reports

#### Search for a single test result

##### Type in desired from/thru Collection Date (ex. T-1 to T-1).

##### Prefix = H (Hematology)

##### Test = BC.FS

##### Facility – ALL

##### From 0 to 100.

##### Print (Report displays all specimens with a numerical entry in the F/S field).

#### Access Result Entry

##### Process Specimen Batch.

##### Type LRA (Lab Result Activity).

##### Type in desired from/thru Result Date (ex. T-1 to T-1).

##### Default through Priority field.

##### Type from/thru Prefix H (Hematology).

##### Type from/thru Test BC.FS.

##### Default through rest of fields until report is displayed (Report displays specimens with both P and numerical entries in the F/S field).

##### Select specimens of interest (those that were on the Custom report) by typing Control A on each.

##### Type P (print) in function field, to print reports or Type S to review on the screen.

## Reviewing Pathology Review Reports:

### Review is performed daily excluding weekends and holidays.

### The reviewer correlates results with additional laboratory test results, diagnoses and other clinical information.  Those with unclear etiology and no previous review are sent to the pathologist.

### Body Fluids

#### All body fluid slides are sent for pathology review.

#### Organize fluid printouts and slides in the same order as in the PRFL worksheet.

#### Place slides in a pathology review slide box.

#### Place printouts and slide box in a large vinyl transport enveloped used for Pathology Review, making sure the delivery instructions indicate delivery to the Pathology Building.

#### Deliver the envelope to SARC for next courier delivery to the Path Building.

### Peripheral Smears

#### Peripheral smears selected by the reviewer are sent for pathology review.

#### Typical hematology specimens to be reviewed include new/suspected leukemias/lymphomas, cases of abnormal erythroid morphology suspected of hemolytic disease or hemoglobinopathy, leukoerythroblastic processes, infectious agents, severe unexplained anemias in the outpatient population, and atypical lymphoid reactions.

#### All cells reported as Immature mononuclear cells MUST be reviewed and identified by a pathologist the first time they are called.

#### All cells reported as "Others" MUST be reviewed and identified by a pathologist the first time they are called.

#### All “Preliminary Reports” must be reviewed by a pathologist.

#### The reviewer will requisition H.PTHREV on each peripheral blood smear to be submitted to the pathologist for review.  Under performing physician field just prior to test field, add the PI number of the pathologist scheduled to perform path review at the same time as adding H.PTHREV test. (J Chen=07313, M Chen=11676, D Dwyre=05344, R Green=06322, C Marshall=04453, and H Rashidi=14377). This will add the path review interpretation field and attestation statement to the results for the associated sample.  This will also trigger professional fee charges on those samples that are appropriate to charge automatically (ie. Inpatients, etc).

#### Create a worksheet by accessing worksheet functions

#### Create Worksheet PRCBC (Path Review peripheral bloods)

#### Press Enter to default through all fields.

#### At the “create” prompt, select Y (yes), but do not print.

#### Process Worksheet

##### Worksheet name is PRCBC

##### Type Date and Worksheet Number desired

##### Press Enter to display worksheet.

##### Edit worksheet if necessary, using standard worksheet functions, to only include those samples currently being sent.

##### In the worksheet functions print the spreadsheet using function “SSP”.

##### In the worksheet functions print each specimen with results by selecting WP. Write appropriate clinical information on the specimen results page for each patient.

##### The pathologist will access each sample using this worksheet to enter interpretive data and electronically sign each report.

##### Once the sample is signed out by the pathologist the slides are returned to the Hematology Department for cleaning and storage.

### Amended/Corrected Reports

#### If original test results are deemed incorrect, appropriate changes are entered into the LIS as Amended/Corrected reports, and the smear, along with the new report, is referred to the original reporting CLS for review.

#### This policy does not negate the responsibility of the original CLS to follow the Critical Value policy as defined in SOP #110.

#### All blasts and/or cells suspicious for malignancy must still be called to the attention of the appropriate physician or charge nurse.

#### Incorrect reporting of cell types or omission of important findings (i.e. bacteria, crystals) may result in corrective action toward the reporting CLS.

Storing slides

# All peripheral blood smears are saved and filed each day. These slides are saved for one month in the slide file cabinet.

# All peripheral blood smears and Body Fluid smears returned from Path Review are saved in file cabinet in the monthly area for one year.

Pathology Review Criteria

Table I

| CBC |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | WBC | <1.5 x 103 | >35.0 x 103 |  |
|  | HGB | <6.0 gm/dl | >19.0 gm/dl | adults |
|  |  | <8.0 gm/dl |  | Birth-6 days |
|  | HCT | <21 % | >60 % | adults |
|  |  | <25 % |  | Birth-6 days |
|  | MCV | <85 fl | >131 fl | birth - 6 days |
|  |  | <64 fl | >133 fl | 1 wk - 6 mo |
|  |  | <60 fl | >97 fl | 6 mo - 6 yr |
|  |  | <70 fl | >110 fl | 6 yr - adult |
|  | MCHC | <30 % |  |  |
|  | Plt/Plt Est | <30 x 103 | >900 x 103 | adults |
|  |  | <20 x 103 |  | neonates |
| Differential |  |  |  |  |
|  | Total PMNs (isolated finding) | <0.5 x 103 with PLT >130 and HCT >36 |  |  |
|  | Lymphs | >5.0 x 103 |  | 16 yrs- adult |
|  |  | >7.0 x 103 |  | 6 - 16 yrs |
|  |  | >8.0 x 103 |  | 2 - 6 yrs |
|  |  | >10.0 x 103 |  | 6 mo - 2 yrs |
|  | Reactive Lymphs | Marked |  |  |
|  | Abnormal Lymphs | Any First time only |  |  |
|  | Atypical Monos | Any First time only |  |  |
|  | Basophils | >0.2 x 103 |  |  |
|  | NRBCs | >2/100 WBC |  | >6 months |
|  | /Immature Mononuclear Cells/Others | Any First time only |  |  |

**Append "HPRL" canned text comment, "Referred for Pathologist Review.  If immediate response required call 734-2490", when reported on the initial presence of unidentified cells or any undiagnosed or relapsed leukemia.

REMINDER:  If cell type is <1%, the cell finder coordinates must be listed.

Morphology

Presence of moderate spherocytes

Presence of moderate schistocytes

Hypersegmented neutrophils

Other

Presence of any suspected organisms (e.g. parasites or microorganisms).  Call physician and submit for review.

Fluid Smears

All CSF, Body Fluid, Synovial Fluid, Dialysate and Lavage smears

Any abnormal or possible malignant cells must also be called as a critical value and have the "HPRL" canned text comment appended the first time they are reported.

Coagulation Critical values

INR		>5.0

APTT		>150.0 sec

Fibrinogen		<50 g/dl

Procedure History

Minor revisions and annual review removed through 2004. 4/2015 LF

| Date | Written/ Revised | Revision | Approved Date | Approved By |
| --- | --- | --- | --- | --- |
| 11/16/88 | D Gann | New | 11/16/88 | N Levy MD |
| 11/04 | J Cannon | Update LIS reporting steps | 11/18/04 | E Larkin MD |
| 1/05 | J Cannon | New Director | 1/27/05 | K Janatpour MD |
| 5/05 | J Cannon | Criteria Changes | 5/05 | K Janatpour MD |
| 7/06 |  | New Director | 7/1/06 | D Dwyre MD |
| 9/06 | J Cannon | Minor reporting changes | 09/18/06 | D Dwyre MD |
| 07/09 | L Gandy | Minor Revision | 07/23/09 | D Dwyre MD |
| 05/10 | L Freeman | Minor revisions | 06/01/10 | D Dwyre MD |
| 06/11 | L Gandy | Minor Revisions | 6/2/11 | D Dwyre MD |
|  |  | Biannual Review | 8/24/12 | D Dwyre MD |
|  |  | Biannual Review | 10/2/2014 | D Dwyre MD |
| 04/2015 | L Freeman | Added immature mononuclear cells, performing physician and reformatted | 5/5/15 | D Dwyre MD |