# RPR Sure-Vue testing Competency Quiz

- Specimen requirement is serum.

True		False

- QC should be run twice daily.

True		False

- Kits should be stored in an upright position.

True		False

- Patient results with minimal or moderate clumps should be reported as reactive.

True		False

- One drop of patient sample, but 6 drops of QC should be used for testing.

True		False

- Samples should be mixed with flattened edge of pipette in a circular motion.

True		False

- The antigen reagent dispensing bottle should be gently mixed before use.

True		False

- One drop of antigen reagent should be used with each sample.

True		False

- After antigen reagent is added you should always restir the samples before placing the card on the rotator.

True		False

- Results should be read while the card is in the “wet” state.

True		False

## Name:_______________________________________  Date:____________________

Operator ID #: _________________________  Unit/Location____________________

Score__________________  Reviewed by:____________________________________