Due to our last proficiency and QA's knew "Back to Green" policy, I have attached the IFU supplement for Vitros Bilirubins. Please read the attached and educate yourself on the method and principles of Bilirubin testing. Take note of the relationship between Bu (unconjugated) Bc (conjucated) and Delta Bilirubin with NBil and TBil.

Direct Bilirubins have been shown to be variable. At low or normal concentrations, DBil methods tend to overestimate. At elevated levels, Dbil methods tend to underestimate. This results in a "third" fraction called Delta Bilis.

Glucoronidase deficiency in neonates reduces the capacity to conjugate Bilirubin. Neonates are defined by MACL as < 14 days old.

As a result of the statements above. The total Bilirubin for neonates vs. Adults is different. You must order a TBil for >14 days and NBil for < 14 days.

If you have any further questions, please don't hesitate to ask. It took this "old dog" quite some time to comprehend.

Deb