## Slide 1: Specimen Receiving Process updated for improved patient care
SVIN Laboratory Meeting September 6, 2017

## Slide 2: Processing Position Schedule
A processing position schedule will be posted
The positions will be as follows:
    Tube Receiving
    ER
    Inpatient
    QLS STATs
    Sendouts
    Specimen Runner

## Slide 3: Early AM Specimens – Tube Receiving
Yellow ER STAT bags will be placed in the new RED processing boxes
Clear STAT bags will be placed in the new SMALL BLUE processing boxes
Specimens in the Red & SMALL BLUE boxes will be processed before the AM Labs
All specimens received will be processed first in - first out
Inpatient clear specimen bags will be placed in the new large Blue processing box as follows
  Bags received first will be placed on the left side, front to back
  When the left side is full, bags will be placed on the right side - front to back

## Slide 4: Specimen Receiving
Specimens will be processed in the order received
Specimens will remain in their bags until processed
Only 1 specimen at a time will be processed
Specimens will be processed in Sunquest through GUI
The patient’s name, Date of Birth and Medical Record Number will be verified prior to receiving the specimen in Sunquest
All unreceived tests in Sunquest will be reviewed and received based on the specimen tubes received

## Slide 5: Specimen Receiving
The patient’s nurse will be notified for any unreceived tests in which a specimen tube was not received but has the same collection time as other processed tests. (order but no specimen)
The patient’s nurse will be notified for any specimen rejections causing a test not to be performed.
  The test must be received then credited in Sunquest
  The rejection reason must be documented
  The first, last name of nurse, date and time of notification must be documented
  The nurse must be informed that a new order must be placed in Sunrise and a new specimen collected

## Slide 6: Specimen Receiving
Specimens that contain no patient information must be discarded
Specimens must contain the collectors initials, date and time of collection
Rejected specimens and specimens with missing data must be documented on the appropriate tracking log
The hospital is currently working on changing their patient label size and information in an effort to streamline our processing