## Slide 1: UICC Proficiency Testing Training

## Slide 2: WELCOME
This power point reviews proficiency testing requirements for our moderate complex sites.
After reviewing this power point, please click the “Take Test” button on the home page for the Medtraining Quiz.

## Slide 3: Objectives
Review the Proficiency Testing (PT) Rules and Regulations policy.
Understand the rule – “Patients’ Access to Test Results”.

## Slide 4: Proficiency Testing Rules and Regulations
Proficiency Testing (PT) is the testing of unknown samples sent to the laboratory by a PT program.
After testing the PT samples in the same manner as its patient specimens, the lab reports its results back to the PT program.
The program grades the results and sends the lab scores reflecting how accurately it performed the testing.
The lab’s performance is monitored by the Centers for Medicare and Medicaid (CMS) and their accreditation organizations.

## Slide 5: Test PT Samples in the Same Manner as Patient Samples
What does this mean:
  Test PT samples within the laboratory’s regular workload of testing patient samples.
  Test PT samples the same number of times as patient samples.
  Test PT samples by using the same test system that is routinely used for patient samples.
  Test PT samples by the same personnel that routinely test the patient samples; and rotate the samples among all the testing personnel in your lab.

## Slide 6: PT Referral Testing
What does this mean?
Sending a PT sample to another laboratory with a different CLIA (Clinical Laboratory Improvement Amendments) number for any reason:
    For confirmatory testing
    For reflex testing
    For comparisons of results
Receiving a PT sample from another laboratory with a different CLIA number for any reason. (This applies even if the second lab is in the same health system.)

## Slide 7: PT Referral Testing
The CLIA Regulations cite specifically that a lab cannot refer any PT material for testing to another laboratory.
If your lab typically performs patient sample testing to a certain point and then sends the sample out for additional testing, you must NOT do so with PT samples.

## Slide 8: PT Referral Testing
Reminder:
  Emory Warner Clinical Labs, North Dodge Lab and Iowa River Landing Laboratories and all UICC Moderately Complex clinics have separate CLIA numbers.
  We must keep our PT separate.

## Slide 9: Other Important PT Rules
Do NOT engage in any inter- or intra-laboratory communications.
Do NOT use PT samples for other purposes before the submission date deadline:
    Linearity studies
    Instrument comparisons
    Competency testing
    Validation Studies
Submission Date Deadline: The actual date that the results are due to the PT provider; not the date that you submitted your results.

## Slide 10: What happens when a laboratory is cited for violating PT referral?
CMS states that the penalty for violating this regulation, either intentionally or unintentionally, may be “revocation of the laboratory’s certification for at least one year” and the potential prohibition of the medical director to direct a lab for two years.

## Slide 11: PT Take Home Messages:
NEVER refer PT samples to other labs with different CLIA numbers; but treat PT samples like patient samples.
NEVER accept proficiency testing samples from another lab with a different CLIA #.
Know & Follow all CLIA & College of American Pathologists (CAP) PT regulations.
Discuss any PT concerns with your manager or any member of the UICC Lab Admin Team.

## Slide 12: Thank you
uihc.org